## DMS (hidden)
ESTIMATE INTERIOR WORKS FOR CANARA BANK AT, MODINAGAR
DETAIL MEASUREMENT SHEET FOR FURNISHING WORK
A | SCHEDULE - 'A' (FURNISHING WORK)
S.NO. | DESCRIPTION | Length (Fts.) | Height (Fts) | numbers | QTY. | QTY.
1 | DISMENTALING WORK | 1 | 1 | 0 | 0 | 0
2 | SUSPENDED FALSE CEILING
2.1 | FALSE CEILING ( GYPSUM BAORD)
| BANKING HALL | 871.884 | 1 | 1 | 871.884
| BM CABIN | 107.64 | 1 | 0 | 0
| STRONG ROOM | 269.1 | 1 | 1 | 269.1
| ATM CABIN | 56.511 | 1 | 0 | 0
| PATTA | 250 | 1 | 1 | 250
[5 empty] | 1390.984 | 0
DEDUCTIONS
GRID FALSE CEILING
| BANKING HALL | 16 | 24 | 1 | 384
| HALL | 4 | 12 | 1 | 48
| STRONG ROOM | 6 | 14 | 1 | 84
| BM CABIN | 6 | 6 | 1 | 36
552
[5 empty] | 838.984 | 850
2.2 | FALSE CEILING (24"x24" GRID FALSE CEILING)
GRID FALSE CEILING
| BANKING HALL | 16 | 24 | 1 | 384
| HALL | 4 | 12 | 1 | 48
| STRONG ROOM | 6 | 14 | 1 | 84
| BM CABIN | 6 | 6 | 1 | 36
[5 empty] | 516 | 520
3 | PARTITIONS WORK
3.1 | FULL HEIGHT SOLID PARTITION
| RECORD ROOM | 7 | 11 | 0 | 0
| RECORD ROOM | 4.75 | 11 | 0 | 0
| RECORD ROOM | 3.25 | 11 | 0 | 0
[5 empty] | 0 | 0
3.2 | Partition with one side laminate & other with Gypsum
| ups | 5.5 | 11 | 0 | 0
| ups | 5 | 11 | 0 | 0
[5 empty] | 0 | 0
3.3 | Single skin partition above ceiling
| RECORD ROOM | 7 | 2.5 | 0 | 0
| RECORD ROOM | 8 | 2.5 | 0 | 0
| UPS | 5.5 | 2.5 | 0 | 0
[5 empty] | 0 | 0
3.4 | Full Height Partially Glazed partition
| MANAGER CABIN | 11.25 | 8.5 | 1 | 95.625
| MANAGER CABIN | 9.5 | 8.5 | 1 | 80.75
| CASH CABIN | 7.25 | 7 | 1 | 50.75
| cash cabin BACK | 5.25 | 7 | 0 | 0
[5 empty] | 227.125 | 230
3.5 | Low. Height Semi Glazed Partition
| SWO | 3 | 4.5 | 6 | 81
| SWO | 4.25 | 4.5 | 2 | 38.25
| manager cabin | 11.5 | 4.5 | 0 | 0
| FLAP DOOR | 2.5 | 4.5 | 0 | 0
| OFFICERS SIDE | 3 | 4.5 | 0 | 0
[5 empty] | 119.25 | 120
3.6 | Glazed Partition(Front Glass)
| CASH | 5 | 3.25 | 1 | 16.25
| SWO | 5 | 1.5 | 5 | 37.5
| SWO | 4.5 | 1.5 | 0 | 0
[5 empty] | 53.75 | 55
3.7 | ACP WALL PANELLING
| ATM SIDES | 6.75 | 8.5 | 2 | 114.75
| ATM BACK | 9.5 | 8.5 | 1 | 80.75
| OUTER SKIRTING | 1.25 | 8.5 | 2 | 21.25
[5 empty] | 216.75 | 220
4 | DOOR & ACCESSORIES
4.1 | Main Entrance Door
| MAIN ENTRY(BRANCH) | 3 | 7 | 2 | 42
| ATM CABIN ENTRY | 3.5 | 7 | 1 | 24.5
[5 empty] | 66.5 | 70
4.2 | Main Entrance Fixed Glazing
| MAIN ENTRY FIXED | 1.5 | 8.5 | 0 | 0
| ABOVE ENTRY | 6 | 1.5 | 1 | 9
| ATM CABIN FIXED | 4 | 8.5 | 1 | 34
| ABOVE ATM ENTRY | 3.5 | 1.5 | 1 | 5.25
[5 empty] | 48.25 | 50
4.3 | Supplying and fixing of Dorma/GEZE Dline / door clodr | 1 | 1 | 6 | 6 | 6
4.4 | Supplying and fixing of mortice door lock of | 1 | 1 | 6 | 6 | 6
4.5 | Supplying and fixing of door stopper SS G | 1 | 1 | 6 | 6 | 6
5 | WORKING COUNTER
5.1 | CASH COUNTER & SINGLE WINDOW | 5 | 1 | 1 | 5 | 5
5.2 | RUNNING COUNTER | 4 | 1 | 0 | 0
5.3 | RUNNING COUNTER | 5 | 1 | 5 | 25
[5 empty] | 25 | 25
6 | TABLE & FURNITURE
TABLES
6.1 | BRANCH MANAGER TABLE - (5'-6" X 2'-6") | 1 | 1 | 1 | 1 | 1
6.2 | OFFICER TABLE - (5'-0" X 2'-6") | 1 | 1 | 0 | 0 | 0
6.3 | RUNING COUNTER & UTILITY TABLE :- Table width is 2'-0" wide and excluding glass on table top. | 5 | 1 | 0 | 0 | 0
7 | STORAGE & SIDE UNIT
7.1 | Side and Back Unit (manager cabin) | 3.5 | 2.5 | 1 | 8.75
| Side and Back Unit (officer table) | 3 | 2.5 | 0 | 0
[5 empty] | 8.75 | 9
7.2 | low ht. Storage (manager cabin) | 7.25 | 2.5 | 1 | 18.125 | 20
7.3 | low ht. Storage (officers back) | 13.25 | 4.5 | 1 | 59.625
| low ht. Storage (hall) | 5.25 | 4.5 | 1 | 23.625
|  | 12 | 8.5 | 1 | 102
[5 empty] | 203.375 | 205
7.4 | Main Electrical Panel Cabinet | 5 | 8.5 | 1 | 42.5 | 45
8 | OTHER MISCELLANEOUS ITEMS
8.1 | PIN UP / NOTICE BOARD
| the periferi. | 4 | 3 | 2 | 24 | 25
8.2 | PAINTING | 3000 | 1 | 1 | 3000 | 3000
8.3 | EMULSION | 1800 | 1 | 1 | 1800 | 1800
8.4 | WRITING LEDGER | 1 | 1 | 1 | 1 | 1
8.5 | CHEQUE AND SUGGESTION BOX | 1 | 1 | 2 | 2 | 2
8.5 | Outer Shutter Boxing (branch & ATM) | 20 | 6 | 1 | 120 | 120
8.6 | ROLLING BLINDS | 5 | 6 | 0 | 0 | 0
8.7 | PILLAR & WALL PANELLING
COLUMNS
| BANKING HALL | 2 | 8.5 | 8 | 136 | 140
CASH CABIN
| CASH CABIN SIDE | 7.25 | 8.5 | 1 | 61.625
| CASH CABIN BACK | 5 | 8.5 | 1 | 42.5 | 105
MANAGER CABIN
| BM CABIN SIDE | 11 | 8.5 | 1 | 93.5
| BM BACK | 7.25 | 6.5 | 1 | 47.125
| BM BACK | 2.5 | 8.5 | 1 | 21.25 | 165
BANKING HALL
| SWO BACK | 13.25 | 6.5 | 1 | 86.125
| SWO BACK | 13.25 | 8.5 | 1 | 112.625
| SWO BACK CASH SIDE | 8 | 6.5 | 1 | 52
| RIGHT SIDE WALL | 34.25 | 8.5 | 1 | 291.125
[5 empty] | 782 | 785
ATM CABIN
| SIDES | 6.75 | 8.5 | 0 | 0
| BACK & ENTRY WALL | 9.5 | 8.5 | 0 | 0
[5 empty] | 0 | 0
8.8 | VINYL FLOORING | 1076.4 | 1 | 0 | 0 | 0

## ATM (hidden)
ESTIMATE INTERIOR WORK FOR INDIAN BANK AT SEVLA AGAR E-LOBBY.
SCHEDULE - 'A' ( FURNISHINGS WORKS )
SN | Item description | Unit | Quntity | Rate (Rs.) | Amount
1.1 | Wall Paneling
Providing & fixing in position column cladding consisting of 6mm
thk comm. ply and 2" X 1" wooden section finished with 1.0 mm
laminate to the column /wall after grouting & screwing. After
wooden panelling , the rest of the column is to be texture/ heritage
painted.The item is to be completed in all respects as per
| design,direction & approval of the architect. | Sq.Ft. | 200 | 150 | 30000
1.2 | MAIN Entrance Glazing with door
| work will be complete incuding 6"x1.75" bottom and 5"x1.75" toprail wooden steam beach section duly melamine finish, 10mm Thk. Toughened Glass, heavy duty door spring ,SS finish handle,lock godrej make. | SFT | 100 | 250 | 25000
1.3 | Granite Cladding(ELEVATION).
| Providing and fixing granite slabs size of 2'x1' fixed with adhesive finish with jointing compound edges to be moulded polished all complite as per direction and approval of the Architect. | Sq.Ft. | 0 | 345 | 0
1.4 | STORAGE
Providing and fixing Full height storage 750mm deep made out of 19mm bwp block board finished with 1.0mm laminate in all exposed areas . The drawers to be made out of 19mm BWP block board in the front cladded with 1.0mm laminate( color, vertical grain) .sides to be made out of 12mm plywood and bottom made out of 6mm plywood duly painted in matching tone and it should play on drawer sliding channels . The shutters to be made out of 19mm block board and should play on drawer sliding castors on powder coated channels. The necessary locks , handles, etc to be provided . 3" x1/2 wooden skiritng to be provided duly polished as per matching tone all along the visible areas . Inside of the unit to be enamel painted in matching tone . All the exposed edeges of the boards/plywoods to be coverd with wooden lippings/mouldings duly polished all complete.The work to be completed as per approval and specificaion of the Architect.
| Full/Low ht storage | Sq.Ft. | 30 | 500 | 15000
1.5 | OUTER SHUTTTER BOX
| Overhead outside shutter box: p/f sal /maranti wood frame fixing of 12mm plywood with 1mm thk. Laminate finish and openable shutter for out side area | Sq.Ft. | 40 | 150 | 6000
1.6 | STAIRCASE IN MS ANGLE FRAME / PIPES AND SUPPORTED WITH PIPES - (Area of steps and landing only will be measured.) | Sq.Ft | 0 | 525 | 0
Providing and fixing Staircase in Steel structure as per design using channel and angles for steps & supported in C channels / I sections. The whole structure has to be supported with MS Angle/ I section on respective points grouted to the floor using MS Plates as per design complete with 2 coats of primer.
| SUB TOTAL |  |  |  | 76000
ELECTRICAL WORK
2.1 | Supply,laying, connection &testing of light,
fan point, wiring by 2x1.5mmsq(2x3/.029) +
1x1mmsq PVC insulated copper flexiable wire
maintating the colour code as per direction in
PVC conduite of 20mm with ISI mark 1.5mm
thickness to conceal in wall partition mending
good the damage, complete with PVC circular
box, bend to be done as per drawaing
including 3 point ceiling rows wherever
required GI saddle to be used for fixing,
metal flexiable/PVC flexiable pipe may use
if requied in partition wall. All PVC pipes
should be with ISI mark. No joints will be
allowed inside pipe ,light, fan & plug point
complete with modular type switch plate &
MS box .
Lighting point complete with modular type
switch, plate, M.S. conceal box.
A | Point - 1 Light point control by 01 switch. | Nos | 2 | 550 | 1100
B | Point - 2 Light point control by 01 switch. | Nos | 3 | 650 | 1950
2.2 | Wall bracket fan point as above complete with modular type switch,plate & M.S. conceal box. Including one 2pin plug socket,front plate & conceal box at fan end. | Nos | 2 | 700 | 1400
2.3 | Supply Laying of Circuit line2x2.5mmsq +1x1mmsq PVC insulated copper wire form MCB DB(LDB) to lighting SB & Raw power plug point (6Amps)rest are same as item no.1.3 light board or 6 amps plug connected from one circuite. | Mts | 20 | 95 | 1900
2.4 | Supply Fixing & connection of modular type 6 amps Plug switch complete with Ms box Socket to fixed above table. 03 nos plug can be connected from 01 circuite | No. | 4 | 650 | 2600
2.5 | Same as above but 16 Amps 6pin socket with 16amps switch for raw power point. ( 01 Nos plug connected from one circuite.) including wire 2x4 +1.5sqmm earth wire. | No. | 4 | 1150 | 4600
2.6 | TELEPHONE WIRING.
| Supply laying & connection of same as item no.1 but with 2 pair 0.5 sqmm tinned CU conductor through PVC regid ISI mark pipe from telephone point to Korne DB complete with RJ - 11 telephone socket modular type in MS conceal box. | No. | 2 | 550 | 1100
2.7 | Same as above 20 pair 0.5 sqmm copper conductor telephone cable in 20mm dia PVC pipe. | Mts | 10 | 85 | 850
PARTICULAR
SUPPLY FIXING & CONNECTION
LIGHT FITTINGS / FANS :
2.8 | Wipro make Recess mounted 2x36watt CFL WIPRO MAKE FITTING 2'-0"X2'-0"(WVP- 25236) | Nos. | 2 | 3000 | 6000
2.9 | Wipro make 1x40 watt Tubelight fittingswith truelite with both end cap white | Nos. | 0 | 675 | 0
2.1 | Wipro make Recess mounted 2x18watt CFL WIPRO MAKE FITTING WCP- 32218) | Nos | 6 | 1100 | 6600
2.11 | Wall mountaing fan 400 mm dia 230 volt A.C. | Nos. | 2 | 1500 | 3000
2.12 | UPS WIRING :
| Supply fixing & connection of UPS circuite line with 2x2.5+1x1.5mmsq through regid PVC conduite 20mmdia 1.6 mm wall tickness, with ISI mark, to lay from UPS MCB DB to plug point board.rest same as item no.1 Two nos point to be connected from One circuite . | Mts | 15 | 105 | 1575
2.13 | Suppy fixing of 2x6Amps 5 pin socket + 1x16 Amps 6 pin socket in single board (under table) + 1x16 A switch in another board above table as per direction. | Set | 4 | 550 | 2200
2.14 | Same as above but 3x6/16, 6pin socket with switch to provide near HUB rack, are to be connected from UPS power. | Set | 0 | 800 | 0
2.15 | Supply laying & connection of UPS incomming power linewith 2x6mmsq +1x2.5 PVC insulated copper wire rest same as item no item no. 1 from PDB to UPS incomming power switch.including 1 nos outgoing line. | mtr | 0 | 158 | 0
2.16 | Supply installation of UPS incomming 63Amps DP MCB with orginal housing of Legrand make. | no | 0 | 800 | 0
2.17 | Supply installation and termination of UPS outgoing power distribution system with8+2Way SPN DB comprising8x10Amps SP MCB & 40 Amps DP MCB as main | no | 0 | 2200 | 0
2.18 | LAYING OF CABLE :
a) | Supply laying fixing main power with 50 mm sq 3.5 core PVC insulated,PVC sheated Alu.Conductor, 1100 v. grade armoured cable complete with 02 nos 8 SWG bear GI.wire as running earth. | Mts. | 0 | 375 | 0
b) | End termination of 50 mmsq 3.5 Core armoured cable,complete with brass cable gland , Alu. Lug, PVC tape. | End | 0 | 220 | 0
2.19 | Supplying & laying of following1100 V grade XLPE insulated & FRLS PVC sheathed armoured aluminium conductor cables conforming to IS 7098 with 2x 8 SWG G.I Wires by GI bar and saddles on wall/ ceiling and wall/floor pass through GI class B GI pipe.
a | 4x 25 Sq mm For Power D.B + AC D.B | Metre | 20 | 260 | 5200
b | 4x 10 Sq mm For ligh tD.B. | Metre | 15 | 220 | 3300
2.2 | MAIN DISTRIBUTION BOARD
A | 4way TPN MCB DB with
63 TP&N MCB as main
16Amps SP MCB - 6 Nos+20AMPS SP X6 NOS.
| including Neutral Bar. 01 Set | Set | 1 | 5500 | 5500
2.21 | EARTHING STATION :
b) | SpikeEarthing with G.I. Electode 3mts. Longx50
mm dia (Class - B) including accessories and
providing masonary enclosure with cover
300x300mm plate having locking arrangement
and watering funnel Etc. with charcoal,
sand & salt at alternate layer as required
for electrical panal earthing.
| (For main electrical panel earthing.) | No. | 1 | 5000 | 5000
c) | Supply laying 2x8SWG copper bear wire from
| earth spike to main panal.(Electrolite wire) | Mts | 20 | 80 | 1600
d) | Do but with 1x16mmsq insulated
copper wire from earth spike to UPS earth
| bus bar through PVC regid 20mmdia ISI | Mts | 20 | 100 | 2000
mark.
2.22 | A/C. electrification :-
a) | Supply laying & connection of A/C. line for
| 2 /1.5TR A/C. window / splite with 2x4 + 1x2.5 | Mts | 20 | 125 | 2500
mmsq throughRegid PVC conduite rest same
item no 1.
b) | S/Fixing AC Box as per company specification with 25 Amp SPMCB with 25AMP Socket | Nos | 2 | 950 | 1900
2.23 | Out door type glow sgn board wiring :-
a) | Supply laying of main line with 2x2.5 +1x1.5 | Mts | 0 | 95 | 0
mmsq through MS conduite from main panal
to glow sign board.
b) | Supply installation of 16 amps DP MCB at main
| entrance Glow sign board WITH TIMMER MDS MAKE | Set | 0 | 3500 | 0
2.24 | Supply fixing of 100Amps TPN HRC type SFU
| at SEB for main incomming on MS angle. | No. | 0 | 4000 | 0
frame & 02 nos Cable end box including
connection.
2.25 | Gen set wiring :-
a) | Supply laying fixing main power with 3.5 core
50Sq.mm PVC insulated,PVC sheathed Alu.
| Conductor, 1100 v. grade armoured cable | Mts | 15 | 375 | 5625
complete with 02 nos 8 SWG bear GI.wire
as running earth.
b) | End termination of 3.5 core 50 Sq.mm | End | 0 | 220 | 0
armoured cable,complete with brass cable
gland , Alu. Lug, PVC tape.
| SUB TOTAL |  |  |  | 67500
| GRAND TOTAL FOR FURNISHING WORK |  |  |  | 143500
B | SCHEDULE - 'B' ( AC WORKS )
S.No | Item description | Unit | Quntity | Rate (Rs.) | Amount
AC WORK
3.1 | Air cooled Hi Wall Split AC Units Comprising Of:
Supply of aircooled split AC complete with indoor & outdoor
unit with cordless remote control as required
(I) | Nominal Capacity - 2.0 TR (Make - Blue Star,Hitachi , Voltas). | NO | 0 | 39000 | 0
(II) | Nominal Capacity - 1.5 TR ( Make - Blue Star,Hitachi , Voltas). | NO | 0 | 33000 | 0
(III) | Nominal Capacity- 1.0 TR ( Make - Blue Star,Hitachi , Voltas). | NO | 2 | 29000 | 58000
Note :- Rate including copper wire free 5 rmt.
3.2 | Installation testing comisioning of Hi -Wall Split AC
(I) | 2.0 TR Capacity | NO | 0 | 2400 | 0
(II) | 1.5 TR Capacity | NO | 0 | 2400 | 0
(III) | 1.0 TR Capacity | NO | 2 | 2400 | 4800
3.3 | Supply installation testing & comisioning of
Voltage Stabilizer of approved make
(I) | 4 KVA | NO | 2 | 2800 | 5600
Note: All voltage stabilizer is sufficient for
A.C.should have time delay facility.
3.4 | Copper Refrigerant Piping :
| Installation & commissioning of Soft copper piping with | RMT | 20 | 650 | 13000
complete fiting & insulation
3.5 | Drain Piping | .
| Hard PVC insulated drain water piping wprk of size 25 mm | RMT | 20 | 110 | 2200
dia with complete fiting Etc.
3.6 | Electrical Cable
Providing & fixing of interconected electrical wiring between
indoor & outdoor unit as req. complete as per design &
| specification of manufacturer. | RMT | 40 | 95 | 3800
3.7 | Frame Work
Supply fabrication & installation of MS
angle iron stand with safety cage for ODU
complete with hanger& suporting Arrange-
| ments as required. | NO | 2 | 4000 | 8000
3.8 | Civil Work For cutting Chisling Plastering of
walls to conseal copper pipe, Drain pipe &
| Electrical wire with plaster finish. | LS | 1 | 3000 | 3000
3.9 | Electrical wire with plaster finish.
| Providing and fixing timer switch for switching power alternatively between two A/C, timer will be analogue dial type adjustable TIMER switch which is adjustable over 24hrs. With 15 minutes intervals and is to have 1NO+1NC (20A) contact. Timer will have its own backup battery and will be enclosed in 16gauge MS Box with acrylic lid together with suitable connector block. (ABB/MDS/L&T) | NOS | 1 | 4000 | 4000
| GRAND TOTAL FOR AC WORK |  |  |  | 102400
C | SCHEDULE - 'C' ( RESIDUAL EXPENDITURE )
SN | Item description | Unit | Quntity | Rate (Rs.) | Amount
4.1 | FALSE CEILING
| Providing and fixing Gypsum false ceiling as per India Gypsum specification for ceiling with drops as per drawing including of providing and fixing G.I. Frame work as per specification of India gypsum at a distance of 2'0" c/c both ways complete with 12.5mm board and all necessary perimeter channels etc. Along with light and A/C vent cutting and finishing | Sft | 180 | 65 | 11700
4.2 | PAINTING AND FINISHINGS JOB
| Providing and applying Acrylic emulsion paints after removing the damaged plaster , replastering with 12mm thk cement morter finished with P.O.P to make the necessary smoothnes , reparingall damages . Then two coats of Primer of approved make to be applied finished with two or more coats of acrylic emulsion paints .The work to be completed as per approval and satisfaction of the Architect. | Sft. | 200 | 12 | 2400
1.3 | TEXTURE PAINT
| Providing and doing textured surface coating on wall of approved shade & texture besic rate Rs.45/sft. (Heritage flakes) the rate are inclusive of scaffolding staging etc. for any hight and for plane as well asfor architectural surface. All completes as per approval and instructions ofthe architect / employer. | SFT | 100 | 50 | 5000
4.3 | Dust bin
| Suppling a metal dust bin. | No | 1 | 1000 | 1000
4.4 | Door Mat | No | 1 | 1000 | 1000
4.5 | writing ledge
| Providing and fixing writing ledge as per design made out 19mm comm. board with necessary grove patterns with 1.0mm laminate. 10mm thk machine polished glass to be provided on top of the writing ledge. Small boxes to be made out of 12mm comm. ply to be made on top of the writing ledge finished with 1.0 mm laminate, inside enamel painted .The work to be completed as per design and approval of the architect. | no | 1 | 3000 | 3000
4.6 | 12mm Toughened Glass Partition ( E-Lobby ) | SFT | 75 | 375 | 28125
| GRAND TOTAL FOR CIVIL WORK |  |  |  | 52225
| GRANT TOTAL ( SCHEDULE - ' A+B+C ' ) |  |  |  | 298125

## SUMMARY
PROJECT: PUNJAB & SIND BANK AT MAHENDRAGARH HARYANA.
SUMMARY
ARCHITECT :- BURMAN ET.AL.
S. No. | ITEMS | AMOUNT
I | INTERIOR WORK
II | ELECTRICAL WORK
III | LAN & TELEPHONE WIRING
IV | AC WORK
V | FIRE ALARM SYSTEM WORKS
VI | CCTV WORK
TOTAL (I+II+III+IV+V+VI)
GST @ 18%
GST AMOUNT
GRAND TOTAL WITH GST

## INTERIOR
PROJECT: PUNJAB & SIND BANK AT MAHENDRAGARH HARYANA.
SUB :- INTERIOR WORK
ARCHITECT :- BURMAN ET.AL.
S.NO. | DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
1 | FALSE CEILING ( GYPSUM BAORD) | SQ.FT. | 610
Providing and fixing Gypsum false ceiling as per drawing including of providing and fixing G.I. Frame work shall comprise of 0.50 mm thick G.I. perimeter channel (MF-6A) having one flange of 19.6mm and other flange shall be of 29.6mm and a web of 26.6mm along with perimeter of ceiling, screw will to be fixed to the beam with the required curvature with nylon sleeves. screws will not at exceeding 610mm centers. Then suspending G.I. intermediate channel (MF-7) of size 45mm, 0.9mm thick with two flanges of 15mm each bent at the required curvature by cutting both its flanges. Suitable bracing to be provided where ever the flanges are cut with 0.9mm G.I. Flat and nuts and bolts at specific positions and thereafter at1220mm centers with ceiling angle of width 25mm x 10mm x 0.50mm thick fixed to soffit with G.I. cleats and steel expansion fasteners as per specification of India gypsum at a distance of 2'0" c/c both ways complete with 12.5mm board and all necessary perimeter channels etc. The joints to be properly mended with paper tapes and gypsum compound all . The boards are to be jointed and finished which includes filling and finishing the tapered and square edges of the boards with jointing compound and fiber tape suitable for Gypsum board. A layer up to of 3.00mm thickness of Veneer Plaster is applied followed by two coats of topcoat (primer) at the face of board to give smooth seamless finish. 2 or more coats of plastic emulsion paint (roller finish) of approved shade and make shall be applied.The rate should include the full completion of the ceiling. At the time of handing over the site all necessary repairing work to be considered if required. The work will be completed as per instructions of the bank. No Drop or design(if any )will be considered as extra measurement it will be considered flat ceiling. (Only plan area to be measured for payment) .No extra payment will be made for the cutting of light points , stain glass,cove lighting etc. The measurement will be taken in one level , rate should include the drops also, and no extra amount will be paid for the drops.
2 | FALSE CEILING (ARMSTRONG CEILINGS – FINE FISSURED MICROLOOK EDGE WITH SILHOUETTE GRID (BLACK REVEAL) | SQ.FT. | 390
Providing and fixing false ceiling system manufactured by M/s Armstrong World Industries. Using hot dipped galvanized steel section, rotary stitched main tee of size 15mm x 42 mm web height having 0.36 mm gauge at every 600 mm centre to centre maximum and rotary stitched cross tee of size 15 mm x 42 mm having 0.33 mm gauge at every 600mm c/c and wall angle of size 19 x 19 mm having 0.35 mm gauge fixed to the periphery of the wall. The above grid is suspended at every 600mm c/c in both directions using 2.0 mm thick pre-straightened GI wire laying FINE FISSURED MICROLOOK WITH SILHOUETTE GRID(BLACK REVEAL) ceiling tiles manufactured by M/s Armstrong World Industries, of size 600mmx600mmx15mm having NRC 0.55 Light reflectance of >84% (WT), thermal conductivity k = 0.052-0.057 W/m0K, Humidity Resistance of 99% , having Fire Performance CLASS O / CLASS 1 (BS 476) the grid surface having 3 Fine Fissured coats of white. The back of formed grid tile should have filled with sand and polished with one layer protective paint. (Branch & ATM)
3 | FALSE CEILING IN PLY WITH LAMINATE | SQ.FT. | 50
Providing and fixing Designer Wooden ceiling make / fabricated out of 8/12 mm thick MDF, duly covered with 1.0 mm thick laminate and making grooves in the desired pattern, and duly screwed to GI ceiling sections also incorporating 2" x 2" soft wood sections where ever specified as drawing. The work includes edge bending from all sides and filling the grooves with matching colour paint / polish etc complete as reqd.. The payment area will be the visible area only.
4 | FULL HEIGHT SOLID PARTITION (WITH OR WITH OUT VISION PANEL AS PER DIRECTION OF BANK / ARCHITECT) | SQ.FT. | 170
Full height Solid Partition including flush door & strong room partition as per site requirement Providing and fixing solid partition the outer framing shall made out of aluminium hollow section of 50 mm x 50 mm size 1.0 mm thick of JINDAL / INDAL and Internal frame structure will placed at max distance of 2’-0” x 2'-0" center to center horizontally and vertically. Fix 12 mm thick MDF Board with 1.0mm thick laminate top on both sides with approved shade in groove pattern as per instructions of architect. The rate will include the cost of providing skirting of 100mm wide lined with 1mm thk laminate and providing & fixing a border at top of 100mm wide lined with 1mm thk laminate complete. Laminate Should be considered up to two or three color combination. The edge beadings with steam beach wood should be finished with melamine polish if required, frame work above false ceiling done shall not be measured but contractor may factor it while quoting there rates as measurement up to false ceiling lvl. The rate inclusive of providing & fixing of required flush door of 35 mm thick approx. with 1.0mm th. laminate both side with steem beech wood Item includes Heavy-duty SS ball bearing butt hinges 100 x 5.5 mm (4 Nos. per shutter) with screws etc.The shade of laminate finish to be got approved from Bank. . All as per the design and instructions of Bank.
Note :- For the purpose of payment partition shall be measured including the area of door/door frames up to false ceiling height.
Framework shall be regidly secured to floor, bottom of slab & exisitng walls at 2'-0" c/c with dash fasteners.
5 | FULL HEIGHT SOLID PARTITION ( ONE SIDE LAMINATE & OTHER SIDE CEMENT BOARD. | SQ.FT. | 150
As of the above, the skin of the partition shall be made out of 10mm thick cement fiber board and finished with 1mm thick laminate of approved shade and scheme on the customer side (visible to customers) and 2 coats of ivory white enamel paint on the internal side (not visible from the customer lobby). The rate quoted must be inclusive of the providing one pane door for UPS room (Size - 7'-0" x 2'-9") & 2 panes door (Size-7'-0" x 2'-0" for electrical panel) or door sizes as per site requirements in combination of 6mm thk cement fibre board and 19mm thick approved block board pasted / screwed together to form a single entity and finished as per matching scheme. The block board shall be on the outer side and shall be pasted with 1.0 mm thick matt laminate along with matching skirting & top bands as per bank's scheme and the cement fiber side of the door shall be on the inside with 2 coats ivory white enamel paint over a coat of primer. Exposed edge of door thickness shall be finished with teakwood lipping & melamine polish.
6 | FULL HEIGHT PARTLY GLAZED PARTITION ( BM CABIN, MEETING ROOM, CASH CABIN) | SQ.FT. | 255
Same as of Solid ht partition , providing 8mm thick Modi/saint Gobin float glass above 1'-0" / 3'-0" & up to 7'-0" fixed with steam beech wood beading of finished size 1 1/2" X 1" all along the edge. All edge-to-edge glass joint to be machine cut and polished and sealed with silicon sealant. Joint shall be located strictly as shown in the drawing. All exposed woodwork to be malamine polished. Item includes frosted/striped/designer glass film of 3m, Avery Dennison or equivalent ( basic rate of Flim Rs. 50/ Sq.ft. ) on existing glass as per manufacturer's specifications. All as per the design and instruction of Bank.
7 | LOW HEIGHT PARTLY GLAZED PARTITION 4'-0" | SQ.FT. | 75
Same as above but of Low height as per design including 10mm Toughened glass with edges polished to be used. All other specs are same as of above, Edges of the partition to be covered with 3" X 1.5" Steam beech wood duly malamine polished moulding. 38mm thick flush door: wicket gate also shall be included for a measurement. All as per the design and insturction bank.
8 | 10MM THICK TOUGHENED GLASS | SQ.FT. | 45
Providing and fixing 10mm thick toughened glass in front of public counters, cash counters & elsewhere held together with SS clamps & SS studs as per approved sample including providing and fixing steam beach beadings (18x18mm), steam beach moulding (62x31mm) along with polish & melamine spray finish
9 | ACP WALL PANELLING (ATM ) | SQ.FT. | 195
Providing & fixing in position ACP (Aluminium Composite Panel) with framing of Aluminium Tube sections of min 1.5"x 1" and 20 gauge 2'-0" C/C both ways. ACP to be in 2' wide panels or distributed equally. Panels to be fixed to the frame with 3M or equi-valent adhesive. Joints to be finished with Silicon based sealant. Minimum ACP thickness-3 mm. Aluminum foil thickness to be min 0.25 mm on both sides. Alubond, Eurobond, Fujibond, Alcobond or equivalent ISO certified or approved brands to be used. White (IVORY) & Blue to be as per bank's approval. Additional Sections to be provided to fix the Indoor AC units. Both AC units to be installed near the machine area at the highest position. The rate shall be included for providing proper access panel for ATM power point and shall have proper locking arrangement for plug point by provding additional framing. ( The measurement shall be made up to falseceiling).
10 | ENTRANCE DOORS - WITH TOUGHENED GLASS (PATCH FITTINGS) | SQ.FT. | 95
Providing and fixing toughend glass door shutters of 12mm thickness in opening of glazed partitions with stainless steel patch fittings of approved make ( DORMA/ DLINE / GEZE or approved equivalent) including heavy duty double action floor-spring with steel cover plate of approved make, pull handle SS brussed finishes 24" long thick 25mm on both sides of door shutters, locking arrangement of Dorma / D Line or equivalent or better quality as approved by Engineer-in-charge. Exposed edges of glass shall be machine cut & polished. Cost includes cutting and making good the floor, walls, ceiling etc. for fixing floor spring and patch fittings. All complete as per approval of the Architect.
11 | MAIN ENTRANCE FIXED PATCH FITTING GLAZING | EACH | 160
Providing and fixing toughend glass partition of 12mm thickness with stainless steel patch fittings of approved make ( DORMA/ DLINE / GEZE or approved equvalant as approved by Engineer-in-charge. Exposed edges of glass shall be machine cut & polished. Cost includes cutting and making the floor, walls, ceiling etc. good for fixing patch fittings. All complete as per approval of the Architect.
12 | DOOR CLOSER | EACH | 7
Supplying and fixing of Dorma/GEZE Dline / Hardwyn/Godrej or approved equivalent Door Closer for wooden door for Branch manager, Banking ahll, Chief Cashier.
13 | MORTICE DOOR LOCK | EACH | 7
Supplying and fixing of mortice door lock of hardwyn make HML-480 Lock Body 304 Stainless Steel. (in BM Cabin , Store room . Cash cabin shall be Godrej Night latch.(atm 1 No.)
14 | DOOR STOPPER | EACH | 7
Supplying and fixing of door stopper SS Grade 304, HESSF-2C hardwyn make.
15 | CASH/STAFF COUNTERS | R.FT. | 5
Providing and fixing Chief Cash Counter in split-levels @ 2’-6” (height 750mm) & 18” (1140mm) with 2’-6” & 15” wide each respectively. Each Upper and Lower tier shall be made of 19 mm thick Commercial Plywood Board finished in 1.0mm thick laminate. Exposed edge having steam beech wood edging of size 1 ½” x 1”. Vertical face shall have 19mm thick Commercial Plywood Board over pine wood framework as per requirement of design. All exposed surfaces shall be finished with 1.0mm thick laminate of approved shade and colour. 1 no. prefabricated metal computer key board tray including drawer slides 12.5” x 22” tray with 14” telescopic slides including L – brackets for securing to the table top. Chest of drawers (size 1’-4” x 2’-0” x 2’- 5”) made of 19mm thick Commercial Plywood Board having three drawers finished with 1.0mm thick Laminate on all sides. Each drawer shall have locking system and 6” long S.S. brushed finished handle, drawer slides etc. of approved make. All exposed edges of Commercial Plywood Board sealed with Steam beech wood beading of size ¼” x ¾”. All beading and exposed wood shall be melamine polished and non-laminate surface to be enamel painted. Item includes readymade metal powder coated CPU trolley, grommet, footrest for each seat. All complete as per approval and instructions of the Architect / employer. The rate also include providing and fixing painting a foot rest using hard wood 100 x 25mm size 1st class seasoned country frame. Payment will be made only on the centerline measurement. The rate shall include the cost of providing skirting of 100mm wide lined with 1.0mm thk laminate and providing & fixing a border at top of 100mm wide lined with 1.0mm thk laminate comlpete.
16 | RUNNING COUNTER | R.FT. | 5
Providing and fixing staff counter/SWO shall be made of 19mm thick Commercial Plywood Board and finished in 1.0mm thick laminate. Working top having steam beech wood edging of size 1 ½” x 1”. Vertical face shall have 19 mm thick Commercial Plywood Board pine wood framework as per requirement of design. All exposed edges of Commercial Plywood Board sealed with Steam beech wood beading of size ¼” x ¾”. All exposed surfaces shall be finished with 1.0mm thick laminate of approved shade. The item includes Chest of drawers (size 1’-4” x 2’-0” x 2’- 5”) made of 19mm thick Commercial Plywood Board having One drawers at top and a storage cabinet below having shutters of 19mm thick Commercial Plywood Board finished with 1.0mm thick Laminate on all sides. 1 no. prefabricated metal computer key board tray including drawer slides 12.5” x 22” tray with 14” telescopic slides including L – brackets for securing to the table top for each seat. All beading and exposed wood shall be melamine polished and non-laminate surface to be enamel painted. Item includes readymade metal powder coated CPU trolley, grommet, foot rest for each seat. All complete as per approval and instructions of the Architect/employer.The rate also include providing and fixing painting a foot rest using hard wood 100 x 25mm size 1st class seasoned country frame. Payment will be made only on the centerline measurement. The rate shall include the cost of providing skirting of 100mm wide lined with 1.0mm thk laminate and providing & fixing a border at top of 100mm wide lined with 1.0mm thk laminate complete.
17 | MANAGER TABLE (SIZE :- 6'-0" X 3'-0" X 2'-6" HT) | EACH | 1
Providing and fixing tables made out of 19 mm thick Commercial Plywood Board hard wood frame work finished with 1.0mm thick laminate of approved shade. Top having steam beech wood edging of size 2” x 1 ¾” finished with 19mm thk Comm. Commercial Plywood Board of approved make cladded with 1mm thk. laminate (color with vertical grain) as per design in all visible areas. All the exposed edges to be covered with wooden steam beech lippings and mouldings duly malamine polish. The drawers to be made out of 19mm thk Commercial Plywood Board with 1.0 mm laminate finish in the front , and bottom to be made out of 6mm Commercial Plywood Board and it should play in drawer sliding telescopic channels. The inside of the drawer to be duly paint & Table back side wil be 1mm laminate. A leg rest to be provided duly polished made out of 3"x2" Wooden Section. A shutter to be made by 19mm Commercial Plywood Board cladded with1.0mm laminate .The necessary locks handles to be provided in each drawers and shutters. 3" x 1/2" wooden skiritng to be provided in all visible areas duly polished. The necessary wire managers(SS) to be provided on the tables and provision for lights to be kept if required in the front of the table. All the exposed areas to be duly malamine polished. The work to be completed as per design and approval of the Bank. The table should have key board tray and CPU Trolly to be Modular. All as per the design and instructions of Bank .
18 | OFFICER TABLE (SIZE :- 5'-0" X 2'-6" X 2'-6" HT) | EACH | 2
Providing and fixing tables made out of 19 mm thick Commercial Plywood Board hard wood frame work finished with 1.0 mm thick laminate of approved shade. Top having steam beech wood edging of size 2” x 1 ¾” finished with 19mm thk Comm.Commercial Plywood Board of approved make cladded with 1mm thk. laminate( color with vertical grain) as per design in all visible areas. All the exposed edges to be covered with wooden steam beech lippings and mouldings duly malamine polish. The drawers to be made out of 19mm thk Commercial Plywood Board with 1.0 mm laminate finish in the front , and bottom to be made out of 6mm Commercial Plywood Board and it should play in drawer sliding telescopic channels. The inside of the drawer to be duly paint & Table back side wil be 1mm laminate. A leg rest to be provided duly polished made out of 3"x2" Wooden Section. A shutter to be made by 19mm Commercial Plywood Board cladded with1.0mm laminate .The necessary locks handles to be provided in each drawers and shutters. 3" x 1/2" wooden skiritng to be provided in all visible areas duly polished. The necessary wire managers(SS) to be provided on the tables and provision for lights to be kept if required in the front of the table. All the exposed areas to be duly malamine polished The work to be completed as per design and approval of the Bank. The table should have key board tray and CPU Trolly to be Modular. All as per the design and instructions Bank .
19 | ROLLING BLINDS | SQ.FT. | 85
Providing and fixing Roller blinds of approved design and shade by the Architect,incl all std fittings as per manufacturer's specification. The work to be completed as per specification and approval of the architect. (approved brand Vista, Hunter Dogulus)
20 | SIDE & BACK STORAGE
| Providing and fixing Side Unit/ Back unit 450 mm depth made out of 19mm Commercial Plywood Board finished with 1.0mm laminate in all exposed areas . The drawers to be made out of 19mm Commercial Plywood Board and cladded with 1.0mm laminate and bottom made out of 6mm comm Commercial Plywood Board duly painted in matching tone and it should play on drawer sliding channels. The shutters to be made out of 19mm Commercial Plywood Board and should play on drawer sliding castors on powder coated channels. The necessary locks , handles, etc to be provided. 3" x1/2 wooden skirting to be provided duly polished as per matching tone all along the visible areas. Inside of the unit to be enamel painted in matching tone. All the exposed edges of the boards/Commercial Plywood Board woods to be coverd with woden lippings/mouldings duly polished all complete. The work to be completed as per approval and specification of the Architect. | SQ.FT. | 65
21 | STORAGE
Providing and fixing Full /Low height Cabinet 450mm deep made out of 19mm thk Commercial Plywood Board finished with 1.0mm laminate in all exposed areas. The Shutter to be made out of 19mm Commercial Plywood Board in the front cladded with 1.0mm laminate (color, vertical grain) and bottom made out of 6mm Commercial Plywood Board duly painted in matching tone and shelves 19mm thk comm Commercial Plywood Board to fixed inside storage. The shutters to be made out of 19mm Commercial Plywood Board . The necessary locks , handles, etc to be provided. 3" x1/2 wooden skiritng to be provided duly polished as per matching tone all along the visible areas. Inside of the unit to be enamel paint finish. All the exposed edeges of the boards to be covered with wooden lippings/mouldings duly polished all complete. All as per the design and instructions Bank.
A | 2'-6" Height as per specifics mentioned above | SQ.FT. | 20
B | 4'-0" Height as per specifics mentioned above | SQ.FT. | 0
C | 8'-0" Height as per specifics mentioned above | SQ.FT. | 60
D | 2'-9" Height Over Head Storage | SQ.FT. | 20
22 | MAIN ELECTRICAL PANEL STORAGE | SQ.FT. | 55
Providing and fixing of DB Shuttering formed of 12mm thk Commercial Plywood Board wood with finsih 1 mm lamintae on outer side and paint on internal side for inside and out side shutters finished with laminate on outer surface with SS Handle (4Nos) louvre perforation and necessary hardware, hinges etc complete as per details. All as per the design and instructions Bank.
Note - For the purpose of contractor's payment in case of Electrical panel cabinet, only front elevation area shall be measured. BUT the partition shall be erected till soffit of the actual ceiling along with the board concealing the entire area and not just till the false ceiling.
23 | PIN UP / NOTICE BOARD
| Providing and fixing soft board with necessary framework with 12mm BWR Commercial Plywood Board on top 12 jolly board to be fixed finished with fabric @Rs80 , with necessary mouldings duly polished along the periferi. All as per the design and instructions Bank. | SQ.FT. | 50
24 | WALL PUTTY | SQ.FT. | 2000
Providing and applying wall putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. The rates are inclusive of scaffolding staging etc. for any height and for plane as well as for architectural surface. (Approved makes- Birla White, Asian paints, JK or equivalent)
25 | ROYAL LUSTER PAINT | SQ.FT. | 2625
Providing and applying 2 or more coats of Royal Luster Asian Paints-Morning Glory–0765 or equivalent make in all internal walls all complete including carrying out of necessary surface preparation , applying 01 or more coats of primer including scaffolding etc. after thoroughly brushing the surface to remove all the dirt and all loose powder free from mortar dropping and other foreign material and sand paper smooth etc. at all heights and locations complete in all respects and as per instructions of Architect / Engineer. Rate shall include required protection by Covering the existing furniture by plastic sheet so as to avoid any damage and keeping the surface intact including complete cleaning after completing the painting, removing painting marks and cleaning the surface. All complete as directed by the Architect. (Royal Luster Asian Paints-Morning Glory–0765 or Nerolac / Dulex / Berger or equivalent make )
26 | ENAMEL PAINT
| Applying 2 or more coats of enamel paint (NEROLAC/ ASIAN) on wooden/ steel doors & windows to give even & uniform surface. | SQ.FT. | 650
27 | WRITING LEDGER | EACH | 1
Providing and fixing writing ledger as per design minium 5 ft length made out 19mm comm. board with necessary grove patterns with 1.0mm laminate. 10mm thk machine polished glass to be provided on top of the writing ledger.
28 | CHEQUE & SUGGESTION BOX | EACH | 2
Small boxes to be made out of 12mm comm. Commercial Plywood Board along with writing ledge finished with 1.0 mm laminate, inside enamel painted and rate should be included providing fixing of sugestion box & Cheque deposit box as per approval of bank. The work to be completed as per design and approval of the architect.
29 | ACP WALL PANELLING (FAÇADE OF MAIN ENTRANCE) | SQ.FT. | 195
Providing & Fixing in position Aluminum Composite Panel (ACP) with framing of Aluminum Tube section of min 1.5”*1” and 20 gauges 2'-0”c/c both ways. ACP to be in 2' width panels or distributed equally panels to be fixed to the frame with 3M or equivalent adhesive with Mirror screws joints to be finished with Silicon base sealant ACP thickness shall be minimum 3 mm.Aluminium foil thickness to be minimum 0.25 on both side . Alubond , Eurobond , Fujibond , Alcobond ,or equivalent ISI approved brands to be used. Bright Silver Shade/colored to fix the indoor AC UNITS both the AC units to be installed near the machine area at the highest Position with bulkit.complete to the satisfaction of Architect/Bank's Engineer.
30 | PILLAR & FRONT FACIA ABOVE MAIN ENTRANCE : WOODEN PANELLING | SQ.FT. | 750
providing , Fabricating and fixing wall/column panelling, the framing shall made out of aluminium hollow section of 50 mm x 25 mm of size 1.0mm thick of JINDAL / INDAL at spacing not exceeding 600mm bothways (horizontal and vertical). Panelling framework to be secured to wall surface/column surface.Panelling framework to be clad on one side with 7.5 mm thick MDF Board finished with 1.0mm thk laminate including skirting of 100mm high & 12mm x 12mm groove at skirting level. All as per the design and instructions Bank.he soffits of the doors / windows shall also be covered with paneling as well. Item shall include 100mm high skirting on bottom of the finished floor in Canara Bank Blue shade and a top band of 100mm high from the soffit/ceiling/visible top height of the paneling in Canara Bank Yellow shade. Remaining area shall be finished with 1.0mm thk white laminate of approved make. Note - No paneling shall be provided behind the storage / cabinets / tables sides or any other surface which is not visible (no payment for same shall be entertained by the bank). Entire paneling shall be provided only on visible surfaces as per approved layout or as directed by the Bank. Also, no paneling shall be provided on the columns embedded in walls. The paneling should be provided on independent pillars in the branch hall only that too till soffit of false ceiling.
Note:- Incase of wall not being true to plumb extra shims of aluminium section shall be provided. Nothing extra shall be payable in this regard.
Note: a) In case of false ceiling, area of panelling payable will be below the false ceiling only. b) Measurement of height shall be taken from finished floor to false ceiling soffit level in case of varying heights on either side of panelling, average height shall be considered. c) Openings/ door/ glass shall not be measured for payment.
COLUMNS, CASH CABIN , MGR CABIN, BANKING HALL
31 | GLASS SHELVES | SQ.FT. | 15
Providing and fixing glass panes / shelves of required sizes with all edges neatly grinded, polished and fixed to the wall surfaces using SS D-brackets. The glass shall be 10mm thk plain glass of approved make. Item shall include all required arrangement / hardwares/ accessories to complete the job upto the satisfaction of bank / Architect.
32 | RE-LAMINATE WORK
| Relamination of exisitng doors with bank approved mica with 6mm MDF | SQ.FT. | 60
ANTI-TERNITE
33 | Diluting and injecting chemical emulsion for POST - CONSTRUCTION anti - termite ( including the cost of chemical emulsion ) along the complete suface area of the wall, floor & ceiling using chemical emulsion @7.5 litres/sq.m. of the vetical surface of the substructure complete with chlopyriphos/ Lindane E.C.20% with 1% concentration. | SQ.FT. | 1050
34 | SEMI GLAZED DOOR (3'-0”x7'-0”)
| roviding and fixing made in 35mm thick Flush door with 1mm lamination form both sides and 8mm plain glass with Etching / Acid texture border fixed with Steam beach molding duly melamine polished. 35mmX 12mm steam beach Lipping to be provided to all the edges of the door . Rate also to include the cost of Door Frame made Steam beach wood fixed in partition or wall.. Door Frame should be fixed properly to the Partitions, All Hardware should be of Brass / SS Brush finish with ISI mark. Hardware includes Concealed Door closer, Cylindrical Lock, Door stopper and other standard needs. All as per the design and instructions Bank. (This item includes removal of existing work before carrying out the new work. No extra payment will be made against the removal work.). | EACH | 1
35 | SOLID DOOR (3'-0”x7'-0”)
| Solid Flush door: Providing and fixing 30 mm thick flush door with 10 mm thick teakwood lipping on all sides finished in 1 mm thick laminate on both sides of approved shade 'UGM' Frosty White/ Bleached Teak of make Archidlam/ equivalent shade in approved make with all necessary hardware including SS door handle, SS stopper, lock, door closer, SS heavy duty butt hinges etc. of make Dorma/ Hettich/ Hafele all complete as per directions of Architect/ Bank. Item to include 2 coat of Fire retardant paint Viper of navair/ approved equivalent. ♦necessary wood frame of 2nd class teak wood (size 75 X75) to be provided all around for fixing of shutters. The frame to be fixed with partition or wall with holdfast / GI fastner. The wooden frame is to be finished with enamel paint (smooth finished base, free from all defects); shade as per approved by architect. | EACH | 2
36 | FROSTED FILM | SQ.FT. | 100
Providing and fixing Frosted Film Over Glass as per drawing or instruction of Bank/Architect (approved Make).
37 | DRESSING TABLE | EACH | 1
Providing and placing dressing table of size 400 x 600x 600mm with small drawer at top made of 19mm thick Commercial ply finished in 1.0mm thick laminate. All exposed edges of Commercial ply sealed with steam beechwood beading of size ¼” x ¾”. All complete including melamine polishing to wood work. All as per drawing, approval and instructions of the Architect/ employer.
| TOTAL AMOUNT |  |  |  | 0

## ELECTRICAL
PROJECT: PUNJAB & SIND BANK AT MAHENDRAGARH HARYANA.
SUB:- ELECTRICAL WORK
ARCHITECT :- BURMAN ET.AL.
S. NO. | DESCRIPTION OF ITEM | UNIT | QTY | RATE | AMOUNT
1 | Making temporary connections and shifting of points all across the Branch and for workstations (Electrical, UPS and telephone) to enable smooth functioning of the branch during renovation all complete as per the instructions of Bank's Engineer/ Architect. Item to include supplying all wires, cables, conduits etc. for the same. Nothing extra shall be payable in this regard | Job | 0
2 | SITC of 3 Nos. 200 Amp. Kit-kat Fuse unit along with 200 Amp. neutral link on wooden board of size 2'0" x 2'0" complete with connections complete in all respect to the satisfaction of Bank. | Set | 1
3 | ELECTRICAL PANEL Design, manufacture, providing, storing & installing in position, effecting proper connection, testing and commissioning of panel made of 16 SWG, CRCA sheet steel. It shall be dust and vermin proof. It shall have compartmentalized construction with bus bar chambers, cable alley, cable glands plate etc. as required, duly painted from inside as well outside. It shall have the following: MAIN PANEL: 1 No.100 Amp. TPN, MCCB (25 KA breaking capacity), Bus bars 100 Amp., 3 phase, 4 strips, 415 volts, 50 Hz. copper busbars with colour coded PVC heat shrinkable sleeves. There should be 2 sets of BUS BAR in such a way that AC load should not be connected to GENERATOR power. 100 Amp. Changeover Switch Instruments: Digital Multi function Meter of standard make for displaying Input Voltage, Ampere, Power factor, KWH used with CTs. | No. | 1
OUTGOING: 3 Nos. 32 Amp. TP MCB (For LDB, PDB, Branch UPS, Inverter and Spare Feeder) from Generator Powered Bus. 2 Nos. 63 Amp. TP, MCB (For AC DB and Spare Feeders) from Non-Generator Powered Bus. 5 Nos. 32 AMP DP MCB. 3 Nos (for Glow Sign board, Strong Room, and spare feeder) from Generator Powered Bus. The design of panel should be got approved by the Architect before manufacturing. Also, the provision for 1/2 spare outgoings should be considered for future expansion. The job shall be completed to the satisfaction of the Bank.
4 | UPS I/P, O/P AND DISTRIBUTION & INVERTER INPUT & DISTRIBUTION
a. | SITC of 32/40 Amp. TP MCB in encloser Double Door complete (Branch and Inverter Incomers) complete in all respects as required. | Nos. | 1
b. | SITC of 20/32 AMP Modular plug & socket along with MCB & plug top complete as per requirement and satisfaction of Bank. (2 for Branch's UPS Input, 2 for Branch's UPS Output) | Nos. | 2
c. | SITC of 12 WAY SPN Double Door DB complete with 1 No. 40 AMP DP MCB as incomer and 12 NOS. 6-10 AMP SPMCB as outgoing for Branch UPS power distribution to Computer points on Staff Counters / Tables. | No. | 1
d. | SITC of 8 WAY SPN Double Door DB complete with 1 No. 32 AMP DP MCB as incomer and 6 NOS. 6-10 AMP SPMCB as outgoing for UPS power distribution points for ESSENTIAL LODAS like CCTV System, Fire & Burglar Alarm Systems, Networking Rack, ATM and select Light points powered by UPS. | No. | 1
f. | SITC of 40/63 Amp. Rotary Phase selector switch complete with RYB indication in enclosure for Branch's UPS input power network and Inverter. Complete in all respect as required. | No | 1
5 | RAW POWER & FAN, LIGHTING DB & AC DISTRIBUTION BOARD
a. | SITC of 4 WAY HTPN DB IP43,Iko9, complete with 1 No. 63 AMP TP MCB as incomer and 12 NOS. 6-32 AMP. SPMCB for out going as LDB, complete in all respect as required. (LIGHT DB) | Nos. | 1
b. | SITC of 6 WAY HTPN DB IP43,Iko9, complete with 1 No. 63 AMP TP MCB as incomer and 18 NOS.18/20 AMP. SPMCB for out going as PDB & AC DB complete in all respect as required. (POWER DB) | Nos. | 1
c | SITC OF 6 WAY VTPN MCCB DB
Incomer : 1 No. 100 Amp TPN (10 KA) MCCB
Outgoing : 4 Nos. 32 Amp TPN (10 KA) TP MCB
| 4 Nos. 32 AMP Single Pole MCB : | Nos. | 1
6 | CABLES
All cables / wires shall be routed through PVC conduits / bends / elbows etc., as required, of appropriate dia. The conduits shall be clamped firmly to the walls / columns / pillars etc. with clips / clamps and fasteners rigidly even if above false ceiling.
Complete job shall include cutting chiseling in walls, floor and making good of all chases / cuts etc. with combination of cement-mortar, including painiting with type and shade of existing wall. The work shall be completed to the satisfaction of Bank. NO CABLE / WIRE / CONDUIT SHALL BE VISIBLE IN THE BRANCH HALL / CUSTOMER LOBBY / STAFF WORKING AREA.
a. | SITC of 3.5 Core 50.0 Sq.mm Aluminium conductor Armoured Cable for service line connection up to Kit kat fuse unit complete in all respect as required. ( Main Meter To Main Panel) | Mtr. | 30
b. | SITC of 4.0 Core 25.0 Sq.mm Aluminium conductor Armoured Cable for service line connection up to Kit kat fuse unit complete in all respect as required. ( Main Panel to UPS Room ) | Mtr. | 23
c. | SITC of 4 core 6.0 Sq.mm Copper conductor Unarmoured Cable from main Panel to (a) LDB (b) PDB (C) AC wiring point wiring Note: In case inverter is present at the branch, the wiring from LDB should be with 2x6.0+1x2.5 sqmm wiring mentioned below and not with 4 core 6.0 Sq.mm Cable (AC DB to Out Door) | Mtr. | 30
d. | SITC of 2 runs of 6.0 Sq.mm and 1 no. of 2.5 Sqmm FRLS PVC Insulated Multistrand Copper conductor wire from selector switch to UPS to UPS Distribution boards. ( UPS Room To UPS D.B.) | Mtr. | 20
e. | SITC of 4 core 10.0 Sq.mm Copper conductor Unarmoured Cable from main Panel / Non Generator power Bus to (a) AC DB (b) Inverter ( Main Panel to All D.B.) | Mtr. | 30
f | SITC of Sub main Wiring for Strong room, Single Phase AC and Glow Sign Board with 2 No. 4.0 Sq.mm and 1 No. 2.5 Sq.mm Multistrand Copper conductor FR pvc/ xlpe insulated Wire in required dia pvc conduit complete in all respects as required. ( Light DB to Strong Room & Glow Sign Borad) | Mtr. | 50
g | SITC of 2 runs of 10.0 Sq.mm and 1 no. of 2.5 Sqmm FRLS PVC Insulated Multistrand Copper conductor wire from selector switch to inverter | Mtr. | 5
7 | AC (Split and Cassette ) POINT
a | SITC of 2x6 sqmm + 1x2.5 Sqmm Copper wire ( for Cassate & Split AC) | Nos. | 5
b | SITc of 32A TPN MCB housed in water proof MS Box. | Nos. | 5
8 | EARTHING
a. | Preparation and commissioning of earth pits with PIP technology GEL type 50mmdia 3000mm long earth electrod. (One Dedicated Earthing for ATM UPS, Branch UPS and main panel | Nos. | 2
b. | SITC of Earthing conductor from earth terminal to load point with 6.0 sq mm multstrand copper conductor FR pvc /XLPE insulated cable in required dia pvc conduit complete in all respect as required. | Mtr. | 80
9 | UPS POINT | Nos. | 8
Supply & Installation of point wiring for UPS or stabilized power plug points on workstations / table for computers using 3 X1.5 Sq.mm copper conductor multi starnd FR PVC sheathed flexible wire including PVC conduite laid floor raceways/conduit and taken upto table top using PVC rigid or flexible conduits run within wooden/metal partitions. Each point consisting of 1 No. Phase Indication light,1 No.16A Switch ,1No, 16Amp and 2Nos 6A , 5/6 pin sockets & wired together forming one point. The earth wire of green color only.
10 | RAW POWER POINT
Same as serial no.1, but providing power point by using 2*4.00 sq.mm. PVC insulated 1100 V grade copper conductor wire with independent 1*4.0 sq.mm earth wire from D.B. to first point (Primary Point) and first to second point with 2*2.5 sq.mm. PVC insulated 1100 V grade copper conductor wire and 1*2.5 earth wire (Secondary Point). All wiring is to be provided in PVC conduit of suitable size. Each power point (Primary or Secondary) must include providing and fixing of a dual socket combination of 1 no. 16 Amp 6 –pin socket with 16 Amp. switch & 1 no. 6 Amp 5-pin socket with 6 Amp. switch. The switches should be Modular type switch / socket / plate etc. complete assembly).
There shall be a maximum of 2 points per circuit
NOTE: The power point, complete as mentioned above, shall be placed on the low ht. / full ht. partition above the tables / counters at a suitable place to ensure convenient accessability for staff.
a | 16 A Switch Socket Point + Switch Socket Point | Nos. | 8
b | 6 A Plug Point | Nos. | 5
c | 16 A Switch Socket Point | Nos. | 14
11 | LIGHT/FAN POINT
Supply & Installation of concealed point wiring using 600v grade 1.5 Sq.mm copper conductor PVC insulated wires (with proper R,Y,B color code ) pulled through heavy gauge PVC conduits laid concealed over false ceiling including 2 Nos. 2.5 sqmm circuit wires from the relevant DB and also including 2.5 sqmm green color copper earth wire and switch plate, switches, etc. as approved by the Bank's Engineer/Architect.
a. | One light points controlled by one 6 amp. Modular switch. | Nos. | 18
b. | Two light points controlled by one 6 amp. Modular switch. (Cost shall include wiring of the first point from the switch board and then looping from the first point to the second point) | Nos. | 10
c | Three light points controlled by one 6 amp. Modular switch. (Cost shall include wiring of the first point from the switch board, then looping from the first point to the second point & further looping from the second point to the third point) | Nos. | 7
d. | Ceiling Fan Point including the cost of 6A Switch along with 5 step electronic fan regulator. | Nos. | 2
e. | Wall Fan Point along with 6 AMP switch | Nos. | 6
f. | Exhaust Fan Point along with 6 AMP switch | Nos. | 3
g | Call Bell Point | Nos. | 1
12 | FIXTURES
Supplying, installation with hanging support , testing and commissioning of following light fixtures with electronic Ballasts, Tubes, lamps, all fixing materials including connecting wires etc. all complete as per the directions of Engineer-in-charge.(all Commercial LED Light Fixures should be covered with minimum 3 Years onsite replacement warranty)
a. | FULL GLOW 2X2 LED 36W Ultra slim Smart Panel complete with driver of make As specified in tender document or approved by bank | Nos. | 16
b. | LED 18/20 watt Tube Light with all accessories.make As specified in tender document or approved by ARCHITECT OR BANK | Nos. | 9
c. | supplying , fixing ,testing and commissioning of 15 W LED commercial type down lighter of make As specified in tender document or approved by ARCHITECT OR BANK | Nos. | 28
d. | LED Strip having lighting 15W per 5 M with driver and necessary installation fittings Led strip light (5mtr.) make As specified in tender document or approved by ARCHITECT OR BANK | R.Mt. | 45
e | Metal body Wall mountaing 450-600 mm dia. make as specified in tender document or approved by ARCHITECT OR BANK. (Preferable Colour :- White / Grey) | Nos. | 6
f | Supply &fixing of Ceiling fans 1200 mm double ball bearing make As specified in tender document or approved by ARCHITECT OR BANK with required down rod and hanging arrangement | Nos. | 2
g | Supply & fixing of 230 mm exhaust fan 'Ventilair DXW' with self closing louvers and plastic body with all accessories etc. complete of make As specified in tender document or approved by ARCHITECT OR BANK | Nos. | 3
h | SITC of Call Bell. | No. | 1
GRAND TOTAL (Rs.)

## LAN
PROJECT: PUNJAB & SIND BANK AT MAHENDRAGARH HARYANA.
SUB:- DATA SYSTEM & TELEPHONE WIRING
ARCHITECT :- BURMAN ET.AL.
S.No. | ITEM | UNIT | QTY | RATE | AMOUNT
TELEPHONE SYSTEM
1 | Wiring for telephone points with 2 pair 4/5 pair .51mm dia ATC (annealed tinned Cu wire) with PVC insulated PVC sheathed telephone cable from tag block to the point including providing ferrules at both ends and termination at both ends including providing & fixing RJ 11 outlet, faceplate and mounting box complete of modular type (where 2 such points are shown, 2 such wires shall be provided) This work includes providing PVC conduits in chases from the raceway to the point. ( 1 each for branch manger, assistant branch manager & server room) | nos. | 6
2 | Supplying, laying, effecting terminations, testing and commissioning of 0.51mm dia Cu. Conductor, twisted , colour coded with polythene capor barrier, telephone cables in the existing tray or in conduit including providing &fixing conduit pipe or cable tray as required from building tag block to the floor as required.
(a) | 1x10 pair armoured cable from telephone connection in the premises to the crone box | rmt | 20
(b) | Supplying & fixing 20 pair krone tag block with enclosure. | nos. | 1
DATA SYSTEM - CONDUITING & CABLING
1 | Providing and laying UTP CAT 6 data cable for nodes through 25mm dia PVC conduit through floor, wall and partitions etc including all necessary materials from main Hub to building tag block (BSNL) | rmt | 25
2 | Wiring for computer networking from I/O hub to computer workstation with UTP Cat -6 computer cable including providing ferrules at both ends and termination at both ends including providing & fixing frame for with shutter , RJ 45 outlet, faceplate and mounting box complete of modular type, This work includes providing PVC conduits ( 1/2" , 3/4" size or as required) in chases from the I/O hub to the point.The cost includes testing, commission etc complete.Note : Do not run more than more than 3 wire in single pipe & should be concealed | nos. | 14
3 | Supply of CAT-6 Dlink Patch Cord 7 ft | Nos. | 14
4 | Supply of CAT-6 DLink Patch Cord 3 ft | Nos. | 14
5 | Supply/Fixing of CAT-6 Jack Panel 24 Port | Nos. | 1
6 | Size19" Rack 9U with Glass Door , Locking system Make: APW | Nos. | 1
7 | S/F 24 Port D Link switch | No. | 1
TOTAL

## AC
PROJECT: PUNJAB & SIND BANK AT MAHENDRAGARH HARYANA.
SUB:- AC WORK
ARCHITECT :- BURMAN ET.AL.
S.No. | ITEM | QTY | UNIT | RATE | AMOUNT
1 | Supply of Air cooled Hi Wall Split AC inveter type Units Comprising Of: (5 STAR)
a | 5-Star rated Hi-wall split airconditioner of 2.0 TR capacity | Each | 1
b | 5-Star rated Hi-wall split airconditioner of 1.5 TR capacity | Each | 2
c | 5-Star rated Hi-wall split airconditioner of 1.0 TR capacity | Each | 2
2 | Installation testing comisioning of Hi -Wall Split AC
a | Hi -wall Split ac | Each | 5
3 | Copper Pipes
a | Charges for providing additional copper pipes (one circuit) for the above split units with necessary insulation and with adequate pvc insulated copper wire from indoor to outdoor units concealed and taken through beyond the standard 5 mtr length. | Rmt | 70
4 | DRAIN PIPING
a | Charges for providing additional 25mm dia heavy duty PVC drain piping with all necessary fittings duly insulated with 9mm thick nitrile rubber pipe insulation drain pipe concealed / surface mounted and taken through wall / partition beyond the standard 5 mtr length for the above split units. | Rmt | 70
5 | STABILIZERS
a | Supply, installation, testing and commissioning of wall mounting 4KVA stabilizers for 1.5Tr & 1.0Tr Hi-Wall Split Air Conditioning units with input voltage range of 170-270 Volts and output 220 +/- 10% as required. | Each | 4
b | Supply, installation, testing and commissioning of wall mounting 5KVA stabilizers for 2.0Tr Hi-Wall Split / Cassette type Air Conditioning units with input voltage range of 170-270 Volts and output 220 +/- 10% as required. | Each | 1
6 | Electrical Cable :-
a | Providing & fixing of 2.5 Sqmm wiring interconected electricalindoor & outdoor unit as req. complete as per design & wiring between specification of manufacturer. | Rmt | 70
b | Providing and fixing standard powder coated support brackets & including grille gauge with locking arrangemnet for the above split / cassette units including fasteners and other accessories as required.
A | For split air conditioner | Each | 5
7 | Civil Work For cutting Chisling Plastering of walls to conseal copper pipe, Drain pipe & Electrical wire with plaster finish. | LS | 1
TOTAL

## FIRE ALARM
PROJECT: PUNJAB & SIND BANK AT MAHENDRAGARH HARYANA.
SUB:- FIRE ALARM SYSTEM WORKS
ARCHITECT :- BURMAN ET.AL.
S.No. | ITEM | QTY | UNIT | RATE | AMOUNT
1 | FIRE DETECTION SYSTEM
Supplying, laying, testing and commissioning of 1100 volt Fire survival 1.50 sq mm x 2 core FRLS 7/.53 mm armoured copper conductor and cable for 650 DEG C cable laid on Surface/ walls including the cost of saddling and clamping and including the cost of dressing etc. complete as per specifications. Make @ Havells, Polycab.
A | 2C x 1.5 Sq mm | R.mtr | 150
2 | Supplying, installation, testing & commissioning of Electric Optical Intelligent Multi Criteria Smoke Detector with built in LED and mounting base complete with all connections etc. as required. Make :- Apollp, System Sensor, Edwords, Honeywell. | Nos | 12
3 | Supply, installation, testing and commissioning of addressable type Rates cum rise type heat detectors with built in fault isolator on surface / false ceiling complete with base as required. Make :- Apollp, System Sensor, Edwords, Honeywell. | Nos | 6
4 | Supplying, installation, testing & commissioning of Manual call boxes of ABS Type with assembly complete with glass and push button etc. as required (Intelligent Manual Call Point, For Fire Alarm System ; Color. Red ; Operating Temperature. -40 to 70 c ; Protocol Voltage. 5 - 13 V) . | Nos | 2
5 | Supplying, installation, testing & commissioning Multiple Intelligences response indicator on surface/recess ABS TYPE box having two LEDs ABS cover complete with all connections etc.as required. | Nos. | 6
6 | Supplying, installation, testing & commissioning Multipal fire alarm sounder with facility to make announcement, mounted in ABS type box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | Nos | 2
7 | Fire Alarm Panel 2 ZONE with Advanced Micro controller based, character LCD display. Zone wise Fire,open,shon LED indicators, testing facility. Trickle & fast charging facility. Reset, alarm cancel, lamp test and control etc. Compatible with any make smoke and heat detectors. ( Including 2 Batteries 12 Volt). Make :- Agni Surkhsha/Morley) | Nos | 1
TOTAL

## CCTV
PROJECT: PUNJAB & SIND BANK AT MAHENDRAGARH HARYANA.
SUB:- CCTV CAMERA WORKS
ARCHITECT :- BURMAN ET.AL.
S.No. | ITEM | UNIT | QTY | RATE | AMOUNT
1 | Supply, Installation, Testing and Commissioning of 1/3’’ High quality Image sensor 600TVL High Resolution IP camera 4 Mega Pixel fixed lens IR Range of 20 mtr with 24 LEDs. Make : Honeywell / CPPLUS | EACH | 7
2 | SITC of 16 channel NVR controlling upto 16Nos. of IP 4 Mega pixels cameras with full HD 1080P display H 264 dual stream video compression full channel D1(4CIF) real time recording HDMI/VGA/TV/Spot BNC synchronous video output live, recording, playback, back up and remote access simultaneous real time playback and smart search smart video detection : MD,camera blank, video loss easy back up | EACH | 1
3 | Supply, Installation, Testing and commissioning of WD Hard Disk 8TB, Make: Segate/WD, Surveillance grade | EACH | 1
4 | Supply, Installation, Testing and commissioning of 16 Port POE Switch, unmanaged - DLINK Make | EACH | 1
5 | Supply & Installation of 21" TFT Monitor (Make -Samsung / LG / Sony). | EACH | 1
6 | Supplying laying of Cat6e wire for CCTV System | RMT | 130
7 | Supplying laying of PVC Conduit for laying of Cat6e wire | RMT | 130
8 | Supply & Installation of HDMI Cable with end to end connector and connections. Total Length around 20 Meter.MAKE; Staker | EACH | 1
9 | Supply and Installation of 9U Equipment Rack for video equipment only with all required accessories, caster wheel, front glass door, cooling fan, power strip with Multi sockets, back light etc. PRESIDENT/DYNAMIC | EACH | 1
TOTAL