## Summary
Client : Panjab Sind Bank, Chennai CO.,
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Architect : M/S.Nanda & Associates,Chennai.
Subject :Cost Summary
S No | Description of Item | Amount (INR) | Amount (INR) | Amount (INR) | Amount (INR)
I | Interior works |  | 740460 | #REF! | #REF!
II | Electrical works |  | #REF! | #REF! | #REF!
iii | HAVC works |  | #REF! | #REF! | #REF!
iv | CCTV works |  | #REF! | #REF! | #REF!
v | ATM works |  | #REF! | #REF! | #REF!
vi | Fire Alarm System |  | #REF! | #REF! | #REF!
| TOTAL |  | #REF! | #REF! | #REF!
| GST 18% |  | #REF! | #REF! | #REF!
| ROUND UP GRAND TOTAL |  | #REF! | #REF! | #REF!
Rupees Twenty Five Lakh Thirty Nine Thousand Two Hundred And Seventy Eight Only.
Note:Taxes considered for estimate purpose. It may vary as per govt norms and standards

## CIVIL_BOQ (hidden)
Client : Canara Bank, Madurai CO.,
Project: Proposed Interior Enhancement for Canara Bank -Kodalikarupur Branch.
Subject: Bill of Quantity - Civil works
Sl. No | Description of Item | Qty. | Unit | Rate | Amount in Rs.
1 | NEW WORKS
a | Brickwork:
| Brick partition walls of 11.50cm thickness using best quality II class table moulded bricks 9"x4-3/8"x2-3/4" in Cement Mortar 1:3 (One Cement and Three Sand) using hoop iron reinforcement if found necessary including curing etc.complete and as directed by the departmental officers. (Hoop iron reinforcement will be measured and paid for separately). | 107.25 | Sft | 250 | 26812.5
b | Plastering:
| Providing & applying 12 mm thick cement plaster in CM 1:5 (1 part of cement: 5 parts of sand) to walls internally in single coat at all levels to correct line and level including chicken wire mesh at all joints of brick and concrete surfaces with minimum overlap of 150 mm in all directions and cleaning of surface, raking out joints, roughening of surface, chiseling the undulated surface wherever necessary and curing, etc., all materials and labor complete in all respects including all lead, lift and descent and as directed. | 232.7812 | Sft | 35 | 8147.3438
c | Painting:
Providing and applying emulsion,OBD,enamel paints after removing the damaged plaster, replastering with 12mm thk cement mortar wherever required, finished with POP to make the necessary smoothness ,scraping, levelling & preparing the surface. Then apply two coats of Primer of approved make to be applied finished with two or more coats of acrylic emulsion paints .The work to be completed as per approval and direction of the Architect.
i | Premium Acrylic Emulsion for Walls | 232.7812 | Sft | 18 | 4190.0625
| Civil Work Total |  |  |  | 39149.9062
|  | Round off Rs. |  |  | 39150

## BOQ - Interior
Client : Panjab Sind Bank, Chennai CO.,
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Subject: Bill of Quantity - Interior works
Sl. No | Description of Item | Qty. | Unit | Rate | Amount in Rs.
1 | FALSE CEILING
a | Gypsum Ceiling
| Providing and fixing suspended Gypboard false ceiling, which includes providing & fixing GI perimeter channels of size 27mm, 0.5mm thick having one flange of 20mm & another flange of 30mm along with perimeter of the ceiling, screws fixed to brick wall / partitions with the help of rawl plugs & screws. Then suspending GI intermediate channels of size 45mm, 0.9mm thick with two flanges of 15mm each from the soffit at 1200mm centers with steel GI hanger of which 25mm, 0.5mm thick fixed to soffit with GI cleat & steel expansion fastners. Ceiling section of 0.5mm thickness having knurled wedge of 51.5mm and two flanges of 25mm each with leafs of 10.5mm are then fixed to the intermediate channel with the help of connecting clips and in direction perpendicular to the intermediate channel at 450mm centers. 12.5mmtapered edge gypboard is then screwed fixed to ceiling section with 25mm dry wall screws at 230mm centers screw fixing will be done mechanically either with screw driver or drilling machine with suitable attachment. Finally the tapered and squared edges of the boards are jointed at finished to give a flushed finish with requisite jointing compound, paper tapes, finished and premier suitable for Gypsum plaster boards. The entire work shall be finished as per instructions of the Architect. No extra cost shall be entertained in completing the job in all respect. The ceiling to be finished with 2 coats of approved colour of plastic emulsion paint over a primer coat. | #REF! | Sft
b | Grid Ceiling ( 2'0" x 2'0")
| Providing and fixing in true horizontal level false ceiling grid of Prelude exposed 24 mm grid system with 15mm manufactured by Approved Make by Architect.Using hot dipped chemically cleaned capping prefinished in baked polyster galvanized steel section exposed surface paint wall angle of size 3000 x 19 x 19mm used in the periphery of the ceiling fixed to the wall partition RC column band walls with the help of screw at 600mm C/C. main runner of size 3000x15x32mm suspended at 1200mm C/C by using 2mm/3mm dia GI wire hanger securely fixed to the structural soffit of RC slab by using 6mm anchor fastener at every 1200mm (max) and 1200mm long cross tee of size 15 x 32mm to be interlocked between in main runner at 600mm C/C. (max) to form a grid of 1200 x 600mm.long cross tee of size 15 x 32 fixed In between 1200 mm long cross tee for forming a grid of 600 x 600mm. Finally laying Armstrong Lay - in Fine fissured 99 Board edge Ceiling with Perforated (standard) tile of Trulok Edge manufactured by M/s Armstrong world Industries Ltd., | #REF! | Sft
2 | PARTITIONS
Note: The contractor shall be paid for the partition area upto to the false ceiling bottom only and the rate shall be inclusive of frame work for the partition above false ceiling and upto RC ceiling level.
a | FULL HEIGHT SOLID PARTITION
| Providing Full height partitions of height 9'9'' made of of 2"x1" with 1.5" thcik Aluminum frame work finished with vertically at every 600 mm c/c and horizontal frame at bottom, 3’0” level, 1'6" level and 10' 6"l.The frame work to be cladded on both sides with 8mm thick commercial plywood and finished with 1 mm thick decorative laminate. The partition to be provided with TW skirting of size 3” x ¾” on both sides and finished to desired wood effect by application of melamine polish after initial surface preparation.The rate also includes flush doors of size: 3' 0" x 7' 0"wherever necessary as shown in the drawing which includes supply, fabrication, fixing with all necessary accessories all with brass finish and other hardwares. The work to be completed as per design and approval of the Architect. | #REF! | Sft
b | SEMI GLAZED PARTITION
| The partion with 8mm thk. clear float glass with etching and Bank Logo (as per design) shall be provided above 3'-0" from GFL upto 7'-0", embedded into partition with 1 1/4" thk white beach or white ceader wooden moulding with natural polish for both sides.1/2" X 3" high white beach wood skirting as per design should run along with the entire bottom length of partition on both sides with natural polish.(Rate to calculated upto False ceiling Ht. The rate also includes flush doors of size: 3' 0" x 7' 0"wherever necessary as shown in the drawing which includes supply, fabrication, fixing with Door Closer, Stopper and all necessary accessories all with brass finish and other hardwares. The work to be completed as per design and approval of the Architect. | #REF! | Sft
c | FULL HEIGHT BLOCKED PARTITION WITH LAMINATE FINISH ON ONE SIDE & CEMENT FIBRE BOARD WITH TWO COATS OF PRIMER ON ONE SIDE
| Providing Full height partitions of height 10'5'' made of of 2"x1" with 1.5" thcik Aluminum frame work finished with vertically at every 600 mm c/c and horizontal frame at bottom, 3’0” level, 1'6" level and 10' 6"l.The frame work to be cladded on one sides with 8mm thick commercial plywood and finished with 1 mm thick decorative laminate and other side cladded by cement fibre board. The partition to be provided with TW skirting of size 3” x ¾” on both sides and finished to desired wood effect by application of melamine polish after initial surface preparation.The rate also includes flush doors of size: 3' 0" x 7' 0"wherever necessary as shown in the drawing which includes supply, fabrication, fixing with all necessary accessories all with brass finish and other hardwares. The work to be completed as per design and approval of the Architect. | 0 | Sft
d | FULL HEIGHT BLOCKED PARTITION WITH GRILLS
| In strong Rooms - Providing and fixing partition in position as per design with 2"x1" with 1.5" thcik Aluminum frame work finished with vertically at every 600 mm c/c.The frame work will be claded with 6mm thk BWR plywood both sides up to 7 ft level and to be finished with 1.0mm Thk Laminate as per design with adhesive. 3" x 1/2" Thk white beach or white cedar skirting as per design should run along with the entire bottom length of partition on both sides with natural polish. Above 7 ft to roof bottom made up of wooden frames with Alumnium grills for ventilation.The rate also includes flush doors of size: 3'0" x 7' 0" wherever necessary as shown in the drawing which includes supply, fabrication, fixing with top and Middle Lock with all necessary accessories all with brass finish and other hardware's. The work to be completed as per design and approval of the Architect. | #REF! | Sft
e | LOW HEIGHT PARTITION
| Providing Half height partitions of height made of 2"x1" with 1.5" thcik Aluminum frame work finished with vertically at every 600 mm c/c and horizontal frame at bottom, 3’0” level, 1'6" level and 10' 6"(Ht of the partition are at 5'0"Ht & 7'0"Ht Respectively). The frame work to be cladded on both sides with 9mm thick commercial plywood and finished with 1 mm thick decorative laminate. The partition with 8mm thk.clear float glass (as per design) shall be provided above 2'6" from GFL.The partition to be provided with TW skirting of size 3” x ¾” on both sides, and including Scaffolding and finished to desired wood effect by application of melamine polish after initial surface preparation.The rate also includes flush doors of size: 2'6" x 6' 0" wherever necessary as shown in the drawing which includes supply, fabrication, fixing with all necessary accessories all with brass finish and other hardware's | #REF! | Sft
f | DECO GRILL PARTITION FOR BULK CASH
| Providing and fixing of plyboard partion with 19mm thk.The Partion should contains 4'0'' ht blocked partion from the floor and above 2'6''ht contains glass partion width of 5'0'' remaining 0'6'' contains plyboard partion.The top portion is to be covered by Deco grill as per approval of architect. In glass all the edges moulded in bull nosing and it should be fitted with hard wood beading at both the ends to with stand the glass and the wooden surfaces finished with natural wood finish.Also the glass having a opening as mentoned in the drawing or size of 0'6" x 0'9". The rates inclusive of all fittings and accessaries,etc. complete.. The door attached to the partition will also have 10mm Frost glass fixed as shown in the drawing with all accessories with brass finish and necessary hardwares. (including the Godrej make night latch and handles for doors) The entire work to be completed as per the instructions ans consultation of the Architect.The rate also includes flush doors of size: 2' 6" x 6'0" with 8mm thick Glass fixed above from 4'0'' to 6' 6'' level wherever necessary as shown in the drawing which includes supply,fabrication, fixing with all necessary accessories all with brass finish and other hardwares. Cash counter 7’0” ht consists of plywood/glass partition with provision of opening at customer side and clerical side as per drawing. All the exposed edges of partition / door to be finished with polished teakwood beading. The Cash counter front glass to be provided with 6" opening and tha same shall be provided with door with towerbolt as per drawing. | #REF! | Sft
g | GLAZED PARTITION
| The partion with 8mm thk. clear float glass with etching and bank Logo (as per design) shall be provided with powder coated alumininum frame.(Rate to calculated upto False ceiling Ht. The rate also includes flush doors of size: 3' 0" x 7' 0"wherever necessary as shown in the drawing which includes supply, fabrication, fixing with all necessary accessories all with brass finish and other hardwares( ATM). The work to be completed as per design and approval of the Architect. | #REF! | Sft
h | WOODEN PANELLING (For ATM , BM Cabin and Column)
| Providing and fixing panelling on wall. Framing shall consist of Heavy duty Aluminium Box Sections 50mm x 25 mm @ 600mm c/c Both ways horizontally and vertically on the wall.This framing would be covered by 8mm thk. comm. Ply finished in approved 1.0 mm. Thk. Laminate / Vineer finished in melamine polish. Wooden moulding, lipping etc. as directed by Bank / architect shall be provided wherever required. | #REF! | Sft
3 | MAIN DOOR
a | Doors: Main Entrance Door: To be made out of 12mm thk Fully Toughened glass with etching and Bank Logo as per design.The door shall have 18" long S/S handle and also double action floor spring of specified make. The Bank Logo and etching in glass pattern to be followed strictly as per instructions of the Architect or following the drawing attached.NB: Size of the door(6'0"x7'0")may slightly vary as per site conditions for matching the elevation of the fixed glazing. All exposed edges of the glass to be machine polished. | 42 | Sft
b | WICKET DOOR
| Providing & fixing solid core flush door of 32mm thk with 1.0mm Laminate on both sides.A door frame of salwood section covered by 3" X 1 1/2" white beach or white ceader beeding same size as frame with natural polish shall be provided. The rate shall be inclusive of brass hinges, screws, handle, cylindrical locks(golden, Godrej) , door closer, door stoppers, etc. The work to be completed as per drawing and approval of the architect. |  |  |  |  | 89.6203
| (i) Size :-3' 6"x 4' 0" | 1 | Nos
4 | FRONT GLASS RUNNING COUNTERS
| Supply and fixng of 10mm thick Flat Arch Glass B/R Rs250/Sft in front counters. In glass all the edges moulded in bull nosing and it should be fitted with hard wood beading at both the ends to with stand the glass and the wooden surfaces finished with natural wood finish.the glass should have a etching , logo, and opening as mentoned in the drawing or a size of 0'6" x 0'9". The rates inclusive of all fittings and accessaries etc. | #REF! | Sft
5 | TABLES AND COUNTERS:
Fabricated out of 19mm plywood for all exposed sides, front and top ,and all sides finished with 19mm table top.Inside part shutters and bottom of keyboard tray,drawers to be finished with approved shade of enamel paint only. All other surfaces to be finished with laminate. The table top will have a 10mm glass with edge machine polished for Manager Table. The table to be done as per drawing. The base of drawers shall be madeout of 6mm thk Ply,sides and back of 12mm thk ply and front made out of 18mm ply. It also provide with a key board tray made with 18mm Plywood and 1mm laminate on top and bottom. All drawers will have Godrej multipurpose locks and 4" S.S handle of approvedmake. The drawers and key board tray shall run on sliding channels / efficient gadgets and all table tops shall have provision for wire managers of approved shade instructions given by the Architect at the time of execution. All exposed edges of ply to be finished with Teak wood mouldings of approved design and polish of approved shade /colour respectively.Legrest should also be provided as per Architect's design.
a | Manager Table ( 6'6" X 3'0") with 10MM thk glass top. | 1 | Nos
b | Running working counter with top 2'6" wide (19mmthk) | #REF! | Rft
d | Cash Counter
| Cash with top B/R @250/- Sft. Working top will be 2'-6"ht and customer top will be at 3' 9" including thickness of the top (12mmthk). One cash tray to be provided.Rest of the cash counter as per specifications and drawings attached in the tender and specification same as counter specification specified above. All clarifications to be taken before quoting the prices & no extra cost shall be entertained at the time of execution. The first drawer of the cash shall have dividers for keeping different coins and cash notes. The rate inclusive of supply and laying of 12mm thk Postforming top for both the working top and customer top. | 5.5 | Rft
6 | STORAGES:
Providing and fixing of 19 mm thk ply for Top. Sides, front shutters finished with for 1mm thk laminate . For all exposed external surface with necessary lipping at front Inside of the storage to be enamel painted. The rates includes godrej multipurpose lock. 4"S.S handles, hinges etc. are as per in the drawing.
| L.H.S (L:3'0"xB:1'6"xH:2'6") at BM Cabin | 7.5 | Sft
| L.H.S (L:6'6"xB:1'6"xH:2'6") at BM Cabin Back Side (If Need) | 16.25 | Sft
| F.H.S (L:12'0"xB:1'6"xH:7'0") at Banking area | 84 | Sft
| F.H.S (L:5'6"xB:1'6"xH:7'0") at Record Room - 2 Nos | 77 | Sft
| F.H.S (L:6'0"xB:1'6"xH:7'0") at Record Room | 42 | Sft
| F.H.S (L:5'0"xB:1'6"xH:7'0") at Banking area | 35 | Sft
| L.H.S (L:5'0"xB:1'6"xH:2'6") at Banking area | 12.5 | Sft
7 | NOTICE BOARD: |  |  |  |  | #REF!
| Providing & fixing of Soft Board on the customer lobby made of jolly board with a a fabric of B/R 250/- per metre. The design and the entire work has to be done as per the instructions of the Architect at the time of execution. | 20 | Sft
8 | WRITING LEDGE:
| Fabricated out of 19mm ply for sides and back 6mm thk ply to be provided, all exposed areas to be finished with laminate 1.0mm thk of approved shade and make for both ledge and with drop box and Complaint Box. The same shall have provision for keeping brochure/slips. The entire work to be carried out as per tender drawings attached and no extra cost shall be provided in completing the same in all respect. | 1 | Nos
9 | CHEQUE DROP BOX :
| Fabricated out of 19mm ply for sides and back 6mm thk ply to be provided, all exposed areas to be finished with laminate 1.0mm thk of approved shade and make for both ledge and drop box. The same shall have provision for keeping brochure/slips. The entire work to be carried out as per tender drawings attached and no extra cost shall be provided in completing the same in all respect. | 1 | Nos
10 | ROLLER BLINDS:
| Providing and fixing Roller blinds for all windows Colour and materials selection by the Architect, Rates including material cost and labour charges etc. complete. | #REF! | Sft
11 | BOXING For ROLLING SHUTTER
| Providing & fixing ¾” BWR ply boxing for the rolling shutters. Necessary wooden framing shall be provided. The boxing shall be finished on all exposed sides by 1mm laminate and internally with enamel paint. Note : rate shall include all necessary hardware fittings, etc. (8 x4 ) +( 1 x 3 x 2nos) and (7 x4.5) + (1.5 x3 x 2Nos) | 80 | Sft
12 | DRESSING MIRROR with DRAWER UNIT
| Providing and fixing dressing table made out of mirror of size 1' 6" x 3' 0" using 12mm thk. Comm. Ply on back with 6mm thk. clear Mirror ( First quality) approved make, fixed on the wall and tray of size 1' 6" x 1' 6"x 6" with one drawer for cosmetics. The mirror and ply should be fitted in Steam beach wooden moulding of size 25mm x 25mm finished with melamine. Rate shall include necessary fixtures and hardware fittings for dressing mirror & drawer unit. (Measurement is measured only for mirror) | 1 | No
13 | KEY BOX
| Providing and fixing key box of size 1' 6"x1' 6"x 6" with all sides and back with 18mm thick comm. Ply wood and lockable glass shutters in 18mm ply , with 5 mm glass. Necessary hooks to be provided inside the box. All exposed areas and inside to be finished with 1 mm thick laminate of approved shade. The edges of shutter and box to be lipped with steam beach beeding polished with melamine. Rate shall be inclusive of all necessary approved fittings like hinges, locks, hooks etc. and any necessary hardware items. | 1 | No
14 | PAINTING
| Painting Entrance grill gate , Rolling Shutter and Window Grills etc.,using synthetic enamel paint two coats of approved colour including all frameworks and related elements after removing the existing paint with sand paper and thereafter cleaning the surface including all labour charges, material charges etc complete. (5'6" x7'0")*2 and (6'6" x8'6" x4 ) and( 6 x 4 x2 x4)+( 3.5 x4 x2) | 518 | Sft
15 | BANKING HALL PAINTING WORK
| Providing and applying the Asian Paints premier interor emulsion approved equivalent grade paint. The surface to be painted shall be provided with one coat necessary putty to level the surface and to be applied with one coat of wall primer. Thereafter emulsion paint to be applied in two coats. The rate includes cost of all materials, labour, scaffolding, ladders charges, storing & safeguarding the labour in all heights. | 1975 | Sft
| Interior work Total |  |  |  | 0
Round off Rs.

## Electrical Works
Client : Panjab Sind Bank, Chennai CO.,
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Subject: Bill of Quantity - Electrical works
S.No. | Description | Qty | per | Rate | Amount
|  |  |  | Rate | Amount
I | Electrical Works
A | Light Point Wiring
B | Main Supply ( Primary Distribution) Mcb db, Panel Board
C | Power Cable & Conduit Wiring
D | Rawpower Socketes ,Ac Sockets Wiring
E | UPS Wiring& Acessories works
F | Light Fitting Supply & Erections
G | Earthing
H | Television & Telephone & Lan Wiring ,Miscellianeous
Total For Elecctrical Works Amount
GRAND TOTAL ( ELECTRICAL WORKS)
A | Light point Wirng
Supply and run of 3Rx1.5 sq.mm. FR pvc multistrand Copper wire in suitable FRLS PVC conduit, having 6A modular switch on modular PVC/GI box for the following points
1 | Primary point | 25 | Pts
2 | Secondary point | 10 | Pts
3 | 1 fan controlled by step type regulator with switch | 4 | Pts
4 | wall fan point including 5A socket with control switch | 6 | Pts
5 | Exhaust fan point | 3 | Pts
6 | 1 No. 6A socket controlled by single switch in switch board | 9 | Pts
7 | 1No. Buzzer with bellswitch incl. wiring connections | 1 | Pts
8 | one light points Control By 2 Nos. 6Amps Two way Switch | 1 | Pts
9 | Supply and laying 2x2.5 1 x 2.5 sq.mm. PVC insulated copper for lighting circuit main. | 100 | Mtr
Total Amount For Light Point works
B | Main Supply ( Primary Distribution) Mcb db, Panel Board
1 | Panel Board
Supply, Erection, Testing and Commissioning of Indoor type MAIN PANEL, Wall / Floor mounting type, dust and vermin proof by construction of 14 SWG CRCA sheets Compartmentalised, modular type IP 42 Protection with powder coated panel as specification below.
Incomer:
1 No - 63A 4P 25kA MCCB
1 Set of Current transformer rated 125/5A, 10VA/CI 1.0 for metering.
1No – Digital Multi data Meter
1 Set – LED type RYB indication lamps with control fuses
Outgoing feeders
1Nos -40A TPN MCCB
3Nos -32A TPN MCCB
100A Aluminium Bus Bar and Associated Accessories as required.
All breaker should be rotary handle mechanism
| Incoming and outgoing cables shall be of Top entry only. | 1 | No.
CHANGE OVER SWITCH FOR UPS & LIGHTING LOAD
2 | Supply and installation of 32 A 4PMCB in sheet steel enclosure on wall mounting angle iron frame work and including top & bottom cable boxes to receive incoming & outgoing cables. | 1 | Nos.
3 | Supply and installation of 40A 4P on-load changeover switch in sheet steel enclosure on wall mounting angle iron frame work and including top & bottom cable boxes to receive incoming & outgoing cables. | 1 | Nos.
4 | Supply and fixing4way TPN DB double door having 32A4p ELCB WITH 30mA-1 No. as incomer with 6A - 12Nos , SP MCBs with suitable rated cu. Bar connection including interconnection.& junction box as necessary Required job etc.( For Lighting Load ) | 1 | Nos.
5 | Supply and fixing 4way TPN DB double door having 32A4p ELCB WITH 100mA-1 No. as incomer with ,25 A SP -4 No, 16A SP - 3 Nos, 10A,SP -5 Nos MCBs with suitable rated cu. Bar connection including interconnection.& junction box as necessary Required job etc.( For A/C & Power Load ) | 1 | Nos.
6 | MAIN DB FOR UPS & LIGHTING LOAD
| Supply, Installation, testing and commissioning of 4 way VDB TPN Distribution board with the following:- 1No -32A 4P MCCB as Incomer and Outgoings:- 3 Nos of 32A TP MCBs and 1 No of 32A TP MCBs with necessary insulated copper bus bars, Neutral Links, earth Links and interconnections with suitable PVC insulated copper conductor wires. | 1 | No.
Total Amount For Panel Board works
C | Power Cable & Conduit Wiring
Supplying, laying, testing & commissioning of PVC / LT insulated 1.1KV grade armoured conductor cables of the following sizes, clamping on to the wall as per site condition.
1 | 4c x 35 Sq .mm Al. XLPE,Ar Cable | 25 | Mtrs.
2 | 4c x 16 Sq .mm Al. XLPE,Ar Cable | 15 | Mtrs.
3 | 4R X 4 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits ( Lighting db ) | 20 | Mtrs.
4 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 15 | Mtrs.
5 | 3R X 6Sqmm. Copper Cable in a suitable PVC FRLS conduits (UPS OUTGOING ) | 20 | Mtrs.
Termination
Terminating, Connecting and Commissioning of the above under Ground cables with compression type SIBG Cable glands.The cost of earthing gland with copper strips/wires shall also be included. The cables shall be terminated with aluminium lugs after crimpin
1 | 4c x35 Sq .mm Al. XLPE,Ar Cable | 2 | Nos.
2 | 4c x16 Sq .mm Al. XLPE,Ar Cable | 2 | Nos.
3 | 4R X 4 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 2 | Nos.
4 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 2 | Nos.
5 | 3R X 6 Sqmm. Copper Cable in a suitable PVC FRLS conduits | 4 | Nos.
Total Amount ForPower Cable & Conduit Wiring
D | Rawpower Socketes ,Ac Sockets Wiring
1 | Supply and run of 2 runs of 4.0 sq.mm. For phase,netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners/ 16Amps Sockets in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 100 | Mtrs.
2 | Supply and run of 2 runs of 6.0 sq.mm. For phase,netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 75 | Mtrs.
3 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire from Main D.B. to 6Amps Sockets for Works station Points in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 75 | Mtrs.
4 | Supply and fixing of 25 A switched socket with indicators in modular box For Split A/c control. | 3 | Nos.
5 | Supply and fixing of 16A switched socket with indicators in modular box For utility | 5 | Nos.
6 | Supply and fixing of 6A switched socket with indicators in modular box For work stations. | 9 | Nos.
Total Amount ForRawpower Socketes ,Ac Sockets Wiring
E | UPS Wiring& Acessories works
1 | Supply and fixing of 32 A 4P. MCB as input control in separate steel sheet enclosures and necessary connections. | 2 | Nos.
2 | Supply and fixing of 32 A Three phase selector switch with indicators in separate steel sheet enclosures and necessary connections. | 2 | Nos.
3 | Supply and fixing of 32 A DPMCB as input control in separate steel sheet enclosures and necessary connections. | 2 | Nos.
4 | Supply, erection, testing and commissioning of single phase 12WAY, SPN MCBDB double door type, IP 42 powder coated for UPS and Emergency Lighting with (d-curve) 32A DP MCB – 1No as INCOMER, 10A SP MCB – 6 Nos.,25ASP MCB - 1Nos as OUTGOING Including all interconnections & accessories etc., | 1 | Nos.
5 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire circuits from UPS. D.B. to required places (work stations) in P.V.C. conduit pipes including chasing in walls / floor wherever necessary | 150 | Mtrs.
6 | Supply,fixing, testing & commissioning of 3No. 6A. 2/3 multi pin socket outlet in UPS circuit controlled with 1No. 6A one way switch in a steel sheet enclosure with 8 module top plate including dummies and incidental materials etc., for work stations. | 12 | Nos.
Total Amount For UPS wiring & Acessories Works
F | Light Fitting Supply & Erections
Notes : As per Site Conditions with necessary job etc.
1 | Supply and fixing of 2 ' x 2 '36 - W LED Fitting. CRCA fabricated enclosure with polycarnote diffuser and illumination area minium 380 mm suitable for Surface /recessed mounting POP/T Grid. Phillips / Wipro / CromptonGreaves/Elenserve make in false ceiling with necessaryaccessories required for the job. | 11 | Nos.
2 | Supply and fixing of 18W LED, square type down lighters. CRCA fabricated enclosure with polycarnote diffuser and illumination area minium 380 mm suitable for Surface /recessed mounting POP/T Grid, Phillips / Wipro / CromptonGreaves/Elenserve make in false ceiling 15W white square LED Down Lighter with necessaryaccessories required for the job. | 5 | Nos.
3 | 4 feet 1 X 18 W LED tube light cool white 6000 K with integerated driver working range from 90 - 260 V AC , PF>0.9 Fitting with necessaryaccessories requiredfor the job.( Locker,cash, record rm) | 12 | Nos.
4 | 2 feet 1 X 10 W LED tube light cool white 6000 K with integerated driver working range from 90 - 260 V AC , >0.9 Fitting with necessaryaccessories requiredfor the job.( Toilet & Mirror Light) | 4 | Nos.
5 | Supplying, fixing and Commissioning of wall mounting fan. Make: Crompton greaves – SDX 120 model | 6 | Nos.
6 | Supply and installation of 9" size medium duty exhaust fan. (Toilets) Almonard make | 3 | Nos.
7 | Supply and installation of 12" size medium duty exhaust fan. (UPS Room) Almonard make | 1 | Nos.
8 | Supply and fixing of 48” 1200mm ceiling fan high speed Crompton greaves make in anchor hook for mounting fan | 4 | Nos.
Total Amount For Light Fitting Works.
G | Earthing
1 | Providing and fixing of chemical earth electroad made out of 50mm dia class-B Asahalock or equevalent 2m length with copper plate made out of 600x600x3.15 mm tinned copper plate along with one number 40x5mm tinned copper strip grazed with the plate buried vertically with top edge of the plate at a depth of 1500 mm with arrangements for termination of copper strip of earth continuty conductor including cost of charcole,saltoreign soil, water pouring arrangements brick massionry encloser on top with R.C.C cover complete with labour and material as per direction of Engineer-in-charge | 2 | Nos.
2 | Supplying,laying and connecting 1Rx6 sq.mm. FRLS pvc multistrand Copper wire in suitable FRLS PVC conduit, open fashion with necessaryclamps, screws, etc. as earth link. | 30 | Mtrs.
3 | Supplying,laying and connecting 300mm.long 25 x 3 mm.Copperflat with SMC/ DMCInsulators in open fashion with necessaryclamps, screws, etc. as earth link. | 4 | Nos.
4 | Supplying,laying,connecting 10SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 75 | Mtrs.
5 | Supplying,laying,connecting 8SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 50 | Mtrs.
Total Amount For Earthing Works
H | Television & Telephone & Lan Wiring ,Miscellianeous
Television Wiring
1 | Supply and fixing of RG 6 , television socket, 3 x 6A socket & 16 Amps switch outlet in modular box. | 1 | Nos.
2 | Supply and run of RG 6 type CO - axial cable | 25 | Mtrs.
Telephone Wiring
3 | Supply and fixing of RJ 11, telephone socket, outlet in modular box. | 5 | Nos.
4 | Supply and run of 2 pair telephone cable in suitable PVC conduit from telephone outlet | 200 | Mtrs.
Lan Wiring
5 | Supply and run e-cat 6, 6pair 0.5 sqmm data cable for computers in separate PVC conduit pipes including chasing in walls / floors from hub to necessary stations. | 200 | Mtrs.
6 | Supplying, fixing testing commissioning of RJ-45 data sockets in separate enclosure including all incidental materials etc., complete. | 8 | Nos.
7 | Supply, fixing, testing & commissioning of 9U Hub Rack with Power Cord and accessories | 1 | Nos.
8 | Supply, fixing, testing & commissioning of jack panel 24 Port.. | 1 | Nos.
9 | Supply, fixing, testing & commissioning of 24 port switch 10/100 Mbps including connections. | 1 | Nos.
10 | Supply and installation of 1 m long patch chord.(CAT 6) | 8 | Nos.
11 | Supply and installation of 2 m long patch chord. (CAT 6) | 8 | Nos.
Miscellianeous
13 | Temporary for Lightpoints,Workstation wiring & Data Cable Laying With All Necessary Required job etc. | 1 | L/S
14 | Buyback old and unwanted materials. (to be deduct)*
Total Amount For Television & Telephone & Lan Wiring , Miscellianeous

## HVAC Works
Client : Panjab Sind Bank, Chennai CO.,
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Subject: Bill of Quantity - HVAC works
S.No. | Description | Qty | per | Rate | Amount
|  |  |  | Rate | Amount
HVAC WORKS
1 | Supply and installation of1.5 TR Capacity high Wall Split Air Conditioner 5 Star Rated ( voltas/carrier / blue star/Samsung) including 4KVA Voltage stablizer installation of out door units complete including all civil Works | 3 | Nos. |  |  | 37950 | 5692.5 | 43642.5 | 46642.5
2 | Supply and installation of2.0 TR Capacity high Wall Split Air Conditioner 5 Star Rated ( voltas/carrier / blue star/Samsung) including 4KVA Voltage stablizer installation of out door units complete including all civil Works |  | Nos. |  |  |  | 89
3 | Supply and installation of Ms ( Mild Steel) cages made of 1/2" x 1/2" Ms square bars for out door unit size 3 ' - 6 " x 2 ' - 6" including civil works and open arrangement in top and painting with 2 coats of synthetic enamel paint over a primer coat | 3 | Nos.
4 | Supply & Laying of PVC Drain Piping for Split AC Units | 10 | Mtrs.
5 | Supply and installation of 3 /4 " dia additional copper piping | 10 | Mtrs.
GRAND TOTAL ( HVAC - WORKS)

## CCTV Works
Client : Panjab Sind Bank, Chennai CO.,
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Subject: Bill of Quantity - CCTV works
S.No. | Description | Qty | per | Rate | Amount
|  |  |  | Rate | Amount
CCTV WORKS
1 | Supply and run e-cat 6, 6pair 0.5 sqmm data cable for computers in separate PVC conduit pipes including chasing in ceilling / walls / floors from hub to necessary stations. | 200 | Mtrs.
2 | Supply of Hikvision turbo HD IR Outdoor Bullet Camera 20Mtrs range | QRO | Nos.
3 | Supply of Hikvision turbo HD IR Indoor Dome Camera 20Mtrs range with 180 days back up with necessary requirments | 10 | Nos.
4 | Supply of Hikvision HD 12 Channel DVR | 1 | Nos.
6 | Supply of 6TB HDD | 1 | Nos.
7 | Supply of 20Ams 12V DC Power Supply for Cameras | 1 | Nos.
8 | Supply of BNC Connectors & DC Pin Connectors for Cameras & DVR | 1 | Nos.
9 | Supply of 9U Wallmount Rack with Accessories | 1 | Nos.
Installation Charges
10 | Laying of CCTV Cat - 6 Cable Through out PVC Conduits | 200 | Mtrs.
11 | Camera Fixing & Termination | 9 | Nos.
12 | DVR Installation and remote view | 1 | Nos.
13 | 9U Wallmount Rack Fixing, Patching and Dressing | 1 | Nos.
GRAND TOTAL ( CCTV - WORKS)

## A.T.M Works
Client : Panjab Sind Bank, Chennai CO.,
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Subject: Bill of Quantity - ATM works
S.No. | Description | Qty | per | Rate | Amount
|  |  |  | Rate | Amount
I | Electrical Works
A | Light Point Wiring
B | Main Supply ( Primary Distribution) Mcb db,
C | Power Cable & Conduit Wiring
D | Rawpower Socketes ,Ac Sockets Wiring
E | UPS Wiring& Acessories works
F | Light Fitting Supply & Erections
G | Earthing
H | Lan Wiring
I | Airconditioning works
Total For Elecctrical Works Amount
GRAND TOTAL (ATM ELECTRICAL WORKS)
A | Light point Wirng
1 | Supply and run of 3Rx1.5 sq.mm. FR pvc multistrand Copper wire in suitable FRLS PVC conduit, having 6A modular switch on modular PVC/GI box for the following points
2 | Primary point | 2 | Pts
3 | Secondary point | 2 | Pts
4 | Exhaust fan point | 1 | Pts
5 | 1 No. 6A socket controlled by single switch in switch board | 1 | Pts
6 | Supply and laying 2x2.5 1 x 2.5 sq.mm. PVC insulated copper for lighting circuit main. | 25 | Mtr
7 | Wiring for Name Board lighting circuit using 3R 4.0 sqmm PVC insulated multi stranded single core copper conductor FRLS wire in 20mm PVC conduit to be on wall complete with all accessories. | 10 | Mtr
Total Amount For Light Point works
B | Main Supply ( Primary Distribution) Mcb db
1 | Supply, Installation, Testing and Commissioning of 4WAY VERTICAL TYPE TPN MCBDB Double door type, IP 42 powder coated comprising of "C" curve MCB's for ATM DB Incomer - 40 A 4P MCB - 01 No,Outgoing - (A)10 A SP MCB - 3 Nos.,20 A SP MCB - 3 Nos.,40 A DP MCB - 2 Nos. | 1 | Nos.
Total Amount For Mcb Board works
C | CABLES
Supplying, laying, testing & commissioning of PVC / LT insulated 1.1KV grade armoured conductor cables of the following sizes, clamping on to the wall as per site condition.
1 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 20 | Mtrs.
TERMINATIONS
Terminating, Connecting and Commissioning of the above under Ground cables with compression type SIBG Cable glands.The cost of earthing gland with copper strips/wires shall also be included. The cables shall be terminated with aluminium lugs after crimpin
2 | 4R X 6 Sqmm. & 2R X 2.5 Copper Cable in a suitable PVC FRLS conduits | 2 | Nos.
Total Amount ForPower Cable & Conduit Wiring
D | Rawpower Socketes ,Ac Sockets Wiring
1 | Supply and run of 2 runs of 4.0 sq.mm. For phase,netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners/ 16Amps Sockets in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 20 | Mtrs.
2 | Supply and run of 2 runs of 4.0 sq.mm. For phase,netural and 1 run of 2.5 sq.mm for earth PVC multristrand FRLS wire from Main D.B. to split air – conditioners in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 20 | Mtrs.
3 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire from Main D.B. to 6Amps Sockets for Works station Points in P.V.C. conduit pipes including chasing in walls / floor wherever necessary. | 25 | Mtrs.
4 | Supply and fixing of 25 A switched socket with indicators in modular box For Split A/c control. | 2 | Nos.
5 | Supply and fixing of 16A switched socket with indicators in modular box For utility | 2 | Nos.
6 | Supply and fixing of 6A switched socket with indicators in modular box For work stations. | 2 | Nos.
Total Amount ForRawpower Socketes ,Ac Sockets Wiring
E | UPS Wiring& Acessories works
1 | Supply and fixing of 40 A 4P. MCB as input control in separate steel sheet enclosures and necessary connections. | 2 | Nos.
2 | Supply and fixing of 40 A Three phase selector switch with indicators in separate steel sheet enclosures and necessary | 1 | Nos.
3 | Supply and fixing of 25 Amp Automatic change over switch for connecting branch UPS and ATM UPS metal sheet enclosure with necessary Interconnections, cable box,brackets, screws,bolts,nuts,etc. | 1 | Nos.
4 | Supply and fixing of 40 A DPMCB as input control in separate steel sheet enclosures and necessary connections. | 2 | Nos.
5 | Supply & Laying of 2 runs of 6.0 Sqmm and single run of 2.5 sqmm, PVC insulated, single core, multistranded copper conductor cable in suitable rigid PVC conduit from UPS output to UPS DB contol switch and to UPS DB. | 10 | Mtrs.
6 | Supply, erection, testing and commissioning of single phase 6 WAY, SPN MCBDB double door type, IP 42 powder coated for UPS and Emergency Lighting with (d-curve) 32A DP MCB – 1No as INCOMER 10A SP MCB – 4 Nos. as OUTGOING, Including all interconnections & accessories etc., | 1 | Nos.
7 | Supply and run of 3 runs of 2.5 sq.mm.phase,Netural, earth PVC multristrand FRLS wire circuits from UPS. D.B. to required places (work stations) in P.V.C. conduit pipes including chasing in walls / floor wherever necessary | 50 | Mtrs.
8 | Supply,fixing, testing & commissioning of 3No. 6A. 2/3 multi pin socket outlet in UPS circuit controlled with 1No. 6A one way switch in a steel sheet enclosure with 8 module top plate including dummies and incidental materials etc., for work stations. | 3 | Nos.
Total Amount For UPS wiring & Acessories Works
F | Light Fitting Supply & Erections
1 | Supply and fixing of 2 ' x 2 '36 - W LED Fitting. CRCA fabricated enclosure with polycarnote diffuser and illumination area minium 380 mm suitable for Surface /recessed mounting POP/T Grid. Phillips / Wipro / CromptonGreaves/Elenserve make in false ceiling with necessaryaccessories required for the job. | 1 | Nos.
2 | Supply and fixing of 18W LED, square type down lighters. CRCA fabricated enclosure with polycarnote diffuser and illumination area minium 380 mm suitable for Surface /recessed mounting POP/T Grid, Phillips / Wipro / CromptonGreaves/Elenserve make in false ceiling 15W white square LED Down Lighter with necessaryaccessories required for the job. | 2 | Nos.
3 | 4 feet 1 X 18 W LED tube light cool white 6000 K with integerated driver working range from 90 - 260 V AC , PF>0.9 Fitting with necessaryaccessories requiredfor the job.( Locker,cash, record rm) | 0 | Nos.
2 | Supply and installation of 9" size medium duty exhaust fan. Almonard make | 1 | Nos.
Total Amount For Light Fitting Works.
G | Earthing
1 | Providing and fixing of chemical earth electroad made out of 50mm dia class-B Asahalock or equevalent 2m length with copper plate made out of 600x600x3.15 mm tinned copper plate along with one number 40x5mm tinned copper strip grazed with the plate buried vertically with top edge of the plate at a depth of 1500 mm with arrangements for termination of copper strip of earth continuty conductor including cost of charcole,saltoreign soil, water pouring arrangements brick massionry encloser on top with R.C.C cover complete with labour and material as per direction of Engineer-in-charge | 2 | Nos.
2 | Supplying,laying and connecting 1Rx6 sq.mm. FRLS pvc multistrand Copper wire in suitable FRLS PVC conduit, open fashion with necessaryclamps, screws, etc. as earth link. | 15 | Mtrs.
3 | Supplying,laying and connecting 300mm.long 25 x 3 mm.Copperflat with SMC/ DMCInsulators in open fashion with necessaryclamps, screws, etc. as earth link. | 2 | Nos.
4 | Supplying,laying,connecting 10SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 15 | Mtrs.
5 | Supplying,laying,connecting 8SWG bare enamelled copper wire already laid PVC Conduits with necessary clamps, screws etc. | 15 | Mtrs.
Total Amount For Earthing Works
H | Lan Wiring
1 | Supply and run e-cat 6, 6pair 0.5 sqmm data cable for computers in separate PVC conduit pipes including chasing in walls / floors from hub to necessary stations. | 50 | Mtrs.
2 | Supplying, fixing testing commissioning of RJ-45 data sockets in separate enclosure including all incidental materials etc., complete. | 2 | Nos.
3 | Supply and installation of 1 m long patch chord.(CAT 6) | 2 | Nos.
4 | Supply and installation of 2 m long patch chord. (CAT 6) | 2 | Nos.
Total Amount For Lan Wiring
I | Airconditioning works
1 | Supply and installation of1.5 TR Capacity high Wall Split Air Conditioner 5 Star Rated ( voltas/carrier / blue star/Samsung) including 4KVA Voltage stablizer installation of out door units complete including all civil Works | 2 | Nos.
2 | Supply and installation of Ms ( Mild Steel) cages made of 1/2" x 1/2" Ms square bars for out door unit size 3 ' - 6 " x 2 ' - 6" including civil works and open arrangement in top and painting with 2 coats of synthetic enamel paint over a primer coat | 2 | Nos.
4 | Supply & Laying of PVC Drain Piping for Split AC Units | 5 | Mtrs.
5 | Supply and installation of 3 /4 " dia additional copper piping | 5 | Mtrs.
6 | Supply and installation of 0-24 hr cyclic timer along with 25A 2pole air break contractors with MS box | 1 | No.
Total Amount ForAirconditioning Works

## F.A.S
Client : Panjab Sind Bank, Chennai CO.,
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Subject: Bill of Quantity - F.A.S works
S.No. | Description | Qty | per | Rate | Amount
|  |  |  | Rate | Amount
A | FAS WORKS
B | BURGULAR ALARM WORKS
GRAND TOTAL ( ELECTRICAL WORKS)
FASWORKS
1 | Supplying, installation, testing & commissioning of heat detector operating at 54ºC/57ºC with rate of rise cum fixed temperature (dual thermistor) type with mounting base complete with all connection etc. as required. | 3 | Nos.
2 | Supplying, installation, testing & commissioning of smoke detector with builtin LED and mounting base complete with all connections etc. as required | 16 | Nos.
3 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover complete with all connections etc. as required. | 8 | Nos.
4 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required | 3 | Nos.
5 | Supplying, installation, testing & commissioning fire alarm sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | 2 | Nos.
6 | Supplying, installation, testing & commissioning sector panel suitable for following zones, complete with visual indications for short circuit fault, open circuit fault, fire condition and all other standard facilities as per IS:2189 with mimic diagram for all area/zone covered, complete with all connections,interconnections as required.
| 8 Zone | 1 | Nos.
CABLING WORKS
9 | Supply and wiring with 2C x 1.5 sq.mm FR twisted pair shielded,1.1KV grade PVC insulated unarmoured copper conductor cable, PVC overall sheathed cable in already laid conduit with interconnections complete as required and as directed by EIC.(For fire detector ) | 200 | Mtr
GRAND TOTAL ( FAS - WORKS)
Burgler Alarm works
1 | Providing and fixing of Burglar Alarm system covered in Door magnetic contact sensor, PIR sensor,Panic switch, sounder , Cable & conduits. ( Make :-Securico/Texecom or equivalent) | 1 | Nos.
GRAND TOTAL (BURGULAR ALARM - WORKS)

## INTERIOR - MOM
Client : Panjab Sind Bank , Chennai,CO.
Project: Proposed Interior Enhancement of Panjab Sind Bank Branch at Coiambatore, Chennai co.
Subject : Make of materials- Interior Works
MAKES OF MATERIAL
1 | Wood | Teak wood
2 | Grid Ceiling | Armstrong / Daikin
3 | Gypsum board | India Gypsum Ltd / La gyp /equivalent
4 | Veneer | Uro / Garnet
5 | Granite | Black colour g-20, Tiger black
6 | Laminate | Merino / Greenlam / Asis / Century / Archid
7 | Glass | Saint Gobain,Modi guard
8 | Flush door | Greenply /Asis / IDEAL PLY , Assam Prestige make
9 | Marine plywood | Century Shiny / Swing
10 | Commercial plywood | Century Shiny / Swing / Assam top / Green line / Omega / Archid
11 | Door closers | Dorma / Ebco
12 | Floor spring / Patch fittings | Dorma / Ebco
13 | Furniture hardware | Dorset / Godrej / Ebco / Hettich
14 | Melamine coat | Asian or equivalent
15 | Putty | Asian / Birla putty/ Jk putty
16 | Paints | Asian paints / ICI Dulux / Berger
17 | Texture | Terraco / Novatex
18 | Adhesive | Fevicol SH , Araldite
19 | Mortise locks | Godrej / Dorset/Monarch
20 | Cylindrical lock | Godrej / Dorset/Monarch

## MAKE OF MATERIAL
Client : Punjab & Sind Bank , Chennai ZO.,
Project: Proposed Interior Enhancement for Punjab & Sind Bank - Coiambatore Branch
Make OF Material - Electrical Works
S.No | ITEM | MAKES
1 | CABLES ISI MARK, 11000V (GRADE) | ANCHOR, POLYCAB, SUNCAB.
2 | WIRES: 660V GRADE ISI MARK | ANCHOR, POLYCAB, SUNCAB.
3 | ERW M.S.CONDUITS ISI MARKS | MOTI, GEMINI, ISI MARK
4 | CASING CAPPING & ACCESSORIES | MOTI, GEMINI, ISI MARK
5 | TRUNKINGS & TRUNKLINKS | MK, MOTI, GEMINI, ISI MARK
6 | PVC CONDUITS | MOTI, GEMINI, ISI MARK
7 | 5A /6A PLATE TYPE SWITCHES | ANCHOR ROMA, NORTH WEST, MK & SOCKETS, ISI MARK
8 | CEILING ROSES, HOLDRES | ANCHOR.
9 | BUZZERS, BELLPUSH, BELLS | MK, ANCHOR.
10 | DISTRIBUTION BOARDS, MCB's | MDS, SIEMENS, HAGER,C&S
11 | ELCB/RCCB | MDS, SIEMENS, HAGER,C&S
12 | LIGHT FITTINGS | PHILIPS, WIPRO, CROMPTON GREAVES ,ELENSERVE
13 | FANS AND EXHAUST FANS | CROMPTONS, GEC.
14 | REWIRABLE SWITCH FUSE UNITS | KEW, BOSMA, STANLEY,
15 | CUT-OUT'S | KEW, BOSMA, STANLEY,
16 | HRC SWITCH FUSES UNITS | GEC ALSTHOM, L&T, and SIEMENS.ABB
17 | TEAK FRAMED SWITCH: | SPEACIAL QUALITY BOARDS AVAILABLE IN MARKET
18 | BUS-BAR CHAMBERS | STANLEY, KEW,
19 | CABLE GLANDS & LUGS | SIEMENS, DOWELS
20 | INDUSTRIAL SOCKETS | MK, CROMPTON, MDS, SIEMENS,C&S
21 | 15A SWITCH, SOCKETS | MK, ANCHOR ROMA, NORTH WEST,
22 | 16A DP SWITCHES WITH FUSE | ANCHOR.
23 | GEYSERS/WATER HEATER | SPHERE HOT, RACOLD, USHA.
24 | TELEPHONE WIRES | DELTON, FINOLEX.
25 | FLOURESCENT TUBES & BULBS | PHILIPS, CROMPTON, OSRAM. BAJAJ, ELENSERVE
26 | G.I. B-CLASS PIPES (ISI) | ITC, PRAKASH
27 | ELECTRONIC REGULATORS | MK, ANCHOR
28 | CONTACTORS | L&T, SIEMENS.
29 | MCCBs | L&T, GE, ABB, SIMENS
30 | MEASURING INSTRUMENTS | A.E., IMP, MECCO,
31 | C.T | A.E., IMP, MECCO, SIEMENS.
32 | CAPACITORS | CROMPTON, ASIAN, L&T.
33 | P.F. RELAY | L&T, CROMPTON.
34 | TELEPHONE OUTLETS: | ANCHOR ROMA, NORTH WEST, MK
35 | CEILING FANS | CROMPTON GREAVES / KHAITHAN/ USHA Model to be appd. By the architect.
36 | EXHAUST FANS | ALMONARD / CROMPTON
37 | LAN SWITCHES / JACKS | D - LINK , AMP, SYSCO
38 | DATA SOCKETS | D - LINK , AMP, SYSCO
39 | NET WORKS RACK & SWITCH | D - LINK , AMP, SYSCO
40 | SPEAKERS | AHUJA ,PHILIPS
41 | CCTV WITH ACCESSORIES | HIKVISION / AJHUA
NOTE: Apart from the above makes, any further equivalent make as approved by the bank, can also be used with prior permission from the bank.
Signature of the Contractor/Tendered (With Seal)

## ELE-MOM (2) (hidden)
Client : Canara Bank, Madurai RO.,
Project: Proposed Interior Enhancement for Canara Bank -Mannargudi Branch.
Subject :Make of materials-Electrical works
MAKES OF MATERIAL
1 | CABLES ISI MARK, 11000V (GRADE) | ANCHOR, POLYCAB, SUNCAB.
2 | WIRES: 660V GRADE ISI MARK | ANCHOR, POLYCAB, SUNCAB.
3 | ERW M.S.CONDUITS ISI MARKS | MOTI, GEMINI, ISI MARK
4 | CASING CAPPING & ACCESSORIES | MOTI, GEMINI, ISI MARK
5 | TRUNKINGS & TRUNKLINKS | MK, MOTI, GEMINI, ISI MARK
6 | PVC CONDUITS | MOTI, GEMINI, ISI MARK
7 | 5A /6A PLATE TYPE SWITCHES | ANCHOR ROMA, NORTH WEST, MK & SOCKETS, ISI MARK
8 | CEILING ROSES, HOLDRES | ANCHOR.
9 | BUZZERS, BELLPUSH, BELLS | MK, ANCHOR.
10 | DISTRIBUTION BOARDS, MCB's | MDS, SIEMENS, HAGER,C&S
11 | ELCB/RCCB | MDS, SIEMENS, HAGER,C&S
12 | ELETRICAL FITTINGS | PHILIPS, WIPRO, CROMPTON,ELENSERVE
13 | FANS AND EXHAUST FANS | CROMPTONS, GEC.
14 | REWIRABLE SWITCH FUSE UNITS | KEW, BOSMA, STANLEY,
15 | CUT-OUT'S | KEW, BOSMA, STANLEY,
16 | HRC SWITCH FUSES UNITS | GEC ALSTHOM, L&T, and SIEMENS.ABB
17 | TEAK FRAMED SWITCH: | SPEACIAL QUALITY BOARDS AVAILABLE IN MARKET
18 | BUS-BAR CHAMBERS | STANLEY, KEW,
19 | CABLE GLANDS & LUGS | SIEMENS, DOWELS
20 | INDUSTRIAL SOCKETS | MK, CROMPTON, MDS, SIEMENS,C&S
21 | 15A SWITCH, SOCKETS | MK, ANCHOR ROMA, NORTH WEST,
22 | 16A DP SWITCHES WITH FUSE | ANCHOR.
23 | GEYSERS/WATER HEATER | SPHERE HOT, RACOLD, USHA.
24 | TELEPHONE WIRES | DELTON, FINOLEX.
25 | FLOURESCENT TUBES & BULBS | PHILIPS, CROMPTON, OSRAM. BAJAJ,ELENSERVE
26 | G.I. B-CLASS PIPES (ISI) | ITC, PRAKASH
27 | ELECTRONIC REGULATORS | MK, ANCHOR
28 | CONTACTORS | L&T, SIEMENS.
29 | MCCBs | L&T, GE, ABB, SIMENS
30 | MEASURING INSTRUMENTS | A.E., IMP, MECCO,
31 | C.T | A.E., IMP, MECCO, SIEMENS.
32 | CAPACITORS | CROMPTON, ASIAN, L&T.
33 | P.F. RELAY | L&T, CROMPTON.
34 | TELEPHONE OUTLETS: | ANCHOR ROMA, NORTH WEST, MK
35 | CEILING FANS | CROMPTON GREAVES / KHAITHAN/ USHA Model to be appd. By the architect.
36 | EXHAUST FANS | ALMONARD / CROMPTON
37 | LAN SWITCHES / JACKS | D - LINK , AMP, SYSCO
38 | DATA SOCKETS | D - LINK , AMP, SYSCO
39 | NET WORKS RACK & SWITCH | D - LINK , AMP, SYSCO
40 | SPEAKERS | AHUJA ,PHILIPS
41 | SMOKE DETECTOR | APOLLO / CAR - MEL OR EQUIVALENT
42 | HEAT DETECTOR | APOLLO / CAR - MEL OR EQUIVALENT
43 | HOOTER | APOLLO / CAR - MEL OR EQUIVALENT
44 | FIRE ALARM PANEL | APOLLO / CAR - MEL OR EQUIVALENT
NOTE: Apart from the above makes, any further equivalent make as approved by the bank, can also be used with prior permission from the bank.
Signature of the Contractor/Tendered (With Seal)

## ELE-MOM (hidden)
Client : Canara Bank, Madurai RO.,
Project: Proposed Interior Enhancement for Canara Bank -North veli street Branch.
Subject :Make of materials-Electrical works
S.No | ITEM | MAKES
1 | CABLES ISI MARK, 11000V (GRADE) | ANCHOR, POLYCAB, SUNCAB.
2 | WIRES: 660V GRADE ISI MARK | ANCHOR, POLYCAB, SUNCAB.
3 | ERW M.S.CONDUITS ISI MARKS | MOTI, GEMINI, ISI MARK
4 | CASING CAPPING & ACCESSORIES | MOTI, GEMINI, ISI MARK
5 | TRUNKINGS & TRUNKLINKS | MK, MOTI, GEMINI, ISI MARK
6 | PVC CONDUITS | MOTI, GEMINI, ISI MARK
7 | 5A /6A PLATE TYPE SWITCHES | ANCHOR ROMA, NORTH WEST, MK & SOCKETS, ISI MARK
8 | CEILING ROSES, HOLDRES | ANCHOR.
9 | BUZZERS, BELLPUSH, BELLS | MK, ANCHOR.
10 | DISTRIBUTION BOARDS, MCB's | MDS, SIEMENS, HAGER,C&S
11 | ELCB/RCCB | MDS, SIEMENS, HAGER,C&S
12 | ELETRICAL FITTINGS | PHILIPS, WIPRO, CROMPTON,ELENSERVE
13 | FANS AND EXHAUST FANS | CROMPTONS, GEC.
14 | REWIRABLE SWITCH FUSE UNITS | KEW, BOSMA, STANLEY,
15 | CUT-OUT'S | KEW, BOSMA, STANLEY,
16 | HRC SWITCH FUSES UNITS | GEC ALSTHOM, L&T, and SIEMENS.ABB
17 | TEAK FRAMED SWITCH: | SPEACIAL QUALITY BOARDS AVAILABLE IN MARKET
18 | BUS-BAR CHAMBERS | STANLEY, KEW,
19 | CABLE GLANDS & LUGS | SIEMENS, DOWELS
20 | INDUSTRIAL SOCKETS | MK, CROMPTON, MDS, SIEMENS,C&S
21 | 15A SWITCH, SOCKETS | MK, ANCHOR ROMA, NORTH WEST,
22 | 16A DP SWITCHES WITH FUSE | ANCHOR.
23 | GEYSERS/WATER HEATER | SPHERE HOT, RACOLD, USHA.
24 | TELEPHONE WIRES | DELTON, FINOLEX.
25 | FLOURESCENT TUBES & BULBS | PHILIPS, CROMPTON, OSRAM. BAJAJ,ELENSERVE
26 | G.I. B-CLASS PIPES (ISI) | ITC, PRAKASH
27 | ELECTRONIC REGULATORS | MK, ANCHOR
28 | CONTACTORS | L&T, SIEMENS.
29 | MCCBs | L&T, GE, ABB, SIMENS
30 | MEASURING INSTRUMENTS | A.E., IMP, MECCO,
31 | C.T | A.E., IMP, MECCO, SIEMENS.
32 | CAPACITORS | CROMPTON, ASIAN, L&T.
33 | P.F. RELAY | L&T, CROMPTON.
34 | TELEPHONE OUTLETS: | ANCHOR ROMA, NORTH WEST, MK
35 | CEILING FANS | CROMPTON GREAVES / KHAITHAN/ USHA Model to be appd. By the architect.
36 | EXHAUST FANS | ALMONARD / CROMPTON
37 | LAN SWITCHES / JACKS | D - LINK , AMP, SYSCO
38 | DATA SOCKETS | D - LINK , AMP, SYSCO
39 | NET WORKS RACK & SWITCH | D - LINK , AMP, SYSCO
40 | SPEAKERS | AHUJA ,PHILIPS
41 | SMOKE DETECTOR | APOLLO / CAR - MEL OR EQUIVALENT
42 | HEAT DETECTOR | APOLLO / CAR - MEL OR EQUIVALENT
43 | HOOTER | APOLLO / CAR - MEL OR EQUIVALENT
44 | FIRE ALARM PANEL | APOLLO / CAR - MEL OR EQUIVALENT
NOTE: Apart from the above makes, any further equivalent make as approved by the bank, can also be used with prior permission from the bank.
Signature of the Contractor/Tendered (With Seal)